## Instructions
COWASH-Monitoring tools version 1.6 for EFY 2008
IMPORTANT
● Only Water Points and Institutional Latrines Constructed/Rehabilitated by COWASH/CMP will be recorded in these formats
● Do not add or delete any of the rows or columns of the monitoring tools
● Only one facility is recorded into one line. DO NOT record latrine and water point into same line!
● Forms 1,2, and 3 are only for printing for field work
● Collect ALL DATA for each facility. If there is data missing write the reason in "Remarks" -column.
● After collection from the field the data is input to databases (DB1,DB2, and DB3) with spreadsheet software (i.e. Excel or LibreOffice Calc)
● GPS settings must be accordingly: ● Position/location format = UTM UPS ● Map Datum = Adindan ● Distance/Speed/Elevation/Depth = metric/meters
● UTM-zone can be checked from the GPS-device's screen with the coordinate data. In Ethiopia the options are: 36N, 36P, 37N, 37P, 38N, and 38P
● Refer always first to the WASHCO-filesin the woreda CMP supervisor office. Most information can be collected from those.
● Normally only new data is added to the bottom of the databases. If you update existing database remember to colorize all changed cells with clearly with blue color
● Questions which are marked with asterisk (*) don't have to be measured if they are not found in WASHCO-file ("Yield", "Depth of the well" and "Water column of hand dug well")
● Be precise. Write clearly distinguishable numbers and letters.
● When there are numbered options write only the number of the option.
● Do not write units of measure i.e. "m", "l/S", "EFY", "ETB", "birr" to the databases
● Register also all abandoned water points (not trials)
● If the trial(s) fail the functionality status is recorded as "0"(Abandoned during construction). NOTE: Even if there are several trials the site is recorded only once.
● GPS location has to be collected for each facility separately. School's water point and latrine have separate coordinates. Latrine coordinate can be collected from between the COWASH latrines.
● In Forms 2 and 3, Columns 10 to 17 are to be filled for water facilities only
● In Form 2, Column 18 is for the newly constructed COWASH-latrine
● In Form 3, Columns 18 to 19 are for the newly constructed COWASH-latrine
● If the latrines have separate budgets they are collected to separate records (lines). If budged is for both latrines, only one record is made with coordinates from between the latrines.
● A water point is recorded as Functional when it fulfills one or more of the following conditions
●The scheme is technically working and in use by communities ●The scheme is in use by households but there exists minor leaks in springs and minor problems (cracks, leaks) in the hand dug well ● If the hand dug well has enough water but stopped giving service only due to the need for minor maintenances such as changing of bobbin, rod centralizer, U-seal, O-ring and foot valve. Because the above spare parts are relatively cheap and technically easily replacable ● A spring which is not in use by the community due to breakages of faucets ● A water point that still technically works but which community has decided not to use due to bacteriological water quality problem. It is taken as functional assuming that it will be treated/disinfected and can be made functional
● A water point is recorded as Non-functional when it fulfills one or more of the following conditions
● A poorly sited water point that still technically works but which the majority of the households has decided not to use. The poor siting may be due to location of the water point at far distance, location not agreed by households, location in a non-technically feasible site etc. ● A water point that still technically works but which community has decided not to use due to water quality problem (mainly of chemical quality) ● A water point that is not in use by the majority of the households due to no WASHCO to manage the scheme and no tariff collection started due to poor management of the scheme ● A hand dug/shallow well which pump is broken (other than need for minor maintenance) and is not giving service ● A hand dug/shallow well which is not in use by the majority of the households due to complete drying of the well or not enough volume of water to the households ● A spring which is highly leaking or water is not flowing out of the spring eye due to major breakdown of the spring eye ● A spring in which the collection chamber is highly leaking and difficult to be used by the majority of the households
● It is good to have instructions and descriptions printed with the formats when you go to the field
Contact:
Abebaw Getachew (M&E), TEL: 09 21 33 84 36, EMAIL: getachewabebaw@gmail.com

## Descriptions
Name of Format:Form 1: Rural Community Water Supply Inventory Format
This format is filled for Water Points constructed for Communities with the COWASH support through the CMP approach.
Column no. in Form 1 | Name of The Column | Column name in database | Description of the column
1 | Serial number | OID | Running serial number (SN) for data collection. Changed to original id (OID) when moved to database.
2 | Kebele name | Kebele | Name of the kebele where the community water point is constructed.
3 | Village name (gott) | Village | Name of the villagein the kebelewhere the community water point is constructed.
4 | Site name (Name of the WASH-facility) | Site_name | The name of the site in the village/gott where the community water point is constructed will be indicated here. Name of the site must be unique so that there are no other sites with the same name in the woreda.
5 | X-coordinate (longitude) | X_coordinate | First make sure that the GPS is setup as per the instructions. Next read the Longitude (Easting) or the first figure in the GPS and record it here. Coordinates are in meters according to UTM Adindan CRS
6 | Y-coordinate (latitude) | Y_coordinate | First make sure that the GPS is setup as per the instructions. Next read the Latitude (Northing) or 2nd figure in the GPS and record it here. Coordinates are in meters according to UTM Adindan CRS
7 | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | UTM_zone | This is the position format of the GPS set for the data collection. UTM-zone can be checked from the GPS-device's screen with the coordinate data for the community water point. Please properly ready the GPS and indicate the appropriate number in the space provided by properly reading the GPS. Example, if the UTM-zone is 37N, you record this code in this space.
8 | Altitude (meter) | Altitude | First make sure that the GPS is setup as per the instructions. Next read the altitude/elevation from the GPS and record here.
9 | Type of protected water supply 1. Hand dug well 2. Rope pump 3. Shallow well 4. Deep well with distribution (Borehole) 5. Protected spring 6. Spring with distribution 7. Other | Type_of_PWS | In here, you record the type of water point constructed for the community. Indicate the code of the water point only. For example, if the water point is Hand Dug Well, you indicate 1, if the water point constructed is Protected Spring (On Spot Spring) indicate 5 in the space provided.
10 | Functionality status of the water scheme 0. Abandoned during construction 1. Functional 2. Non-functional | Function | This is the space to indicate the functionality status of the water point at the time of visit. If the water point constructed is not functioning (pump broken, no adequate water for the beneficiaries,it is not used due to bacteorological reasonsetc.) you put 2 in the space provided. If the water point constructed has no problemor it is non-functional due to minor problems which can be easily repairable, you put 1 in the space provided. If the water point is abandoned during construction, 0 will be indicated in the space. Functionality of COWASH-facilities is checked every year. If the status changes from previous year the number is colored BLUE As an example, if non-functional water point has changed to functional record changes from 2 to 1 coloured with Blue.
11 | Reason for non-functionality 1. Broken 2. Not enough water 3. Management /Finance Problem 4. Other | Reason_f_non | This will not be filled if the water point is functioning properly (if 1 is filled for Column 10). If the water point is not functioning (or 2 or 0 is filled for Column 10), the code for the reason of non-functionality will be indicated here. If the water point is non-functional due to pump breakage, 1 will be filled; if the water point has no adequate water, 2 will be filled; if the reason is management/finance problem, 3 will be filled. For reasons not mentioned in the list, you indicate 4. If the status has changed during updating, change the color of the the record to BLUE
12 | Total number of households having access to improved latrine and hand washing facility | HH_acc_lat | Total number of households benefitting from the water point constructed by COWASH (actual beneficiaries regardless of distance) and who have access to imporved latrines with hand washing facilities. Please note that this is access, not usage.
13 | Estimated number of households within 1.5 km radius of the scheme | HH_1_5_km | This is filled if the water point is functional. If the water point is functional, the total number of households approximately within 1.5 km radius (15-20 minutes walking distance single trip) having access to the water point will be indicated here. The total no. of households having access within 1.5 km radius can be estimated in collaboration with the WASHCO of the water point. This is calculated as per the definition in use by the region. If the status has changed during updating, change the color of the record to BLUE.
14 | Estimated number of households within 1.0 km radius of the scheme | HH_1_km | This is filled if the water point is functional. If the water point is functional, the total number of households approximately within 1 km radius (10-15minutes walking distance single trip) having access to the water pointas per GTP II standard will be indicated here. The total no. of households having access within 1 km radius can be estimated in collaboration with the WASHCO of the water point. This is calculatedas per the definition in use by the region. If the status has changed during updating, change the color of the record to BLUE.
15 | Yield of springs or machine drilled wells in litres per second * | Yield | In here, the amount of water (in liters) per second will be recorded. Yield has been measured during construction by construction supervisor. If the yield was not measured during construction and the information is not available, this can be left empty.
16 | Status of the water scheme 1. New 2. Rehabilitation 3. Expansion | Status | This refers to whether the water point is newly constructed or rehabilitated or expanded. If the water point is New, you indicate 1; if it is rehabilitated you fill 2; if it is expansion 3 will be filled.
17 | Year of construction/rehabilitation/ expansion of the water scheme (Ethiopian calendar) | Y_of_constr | The year (in Ethiopian Calendar) when the water point construction or rehabilitation or expansion was completed will be recorded here. The year is FOUR digit. Example, if the water point construction is completed in 2005 Ethiopian Calendar, you record 2005; if it is completed in 2004, you record 2004 in the space provided.
18 | Estimated number of population using the scheme regardless of distance | Population | The total number of peopleusing the water pointregardless of distancewill be indicated in this space. Sometimes, the number of households benefiting from the water points multiplied by the average family size of a household may not give the same figure. The total number of people using the water point can be obtained from theapplication of the WASHCO available in the WASHCO file at the CMP Supervisor’s office. If the status has changed during updating, change the color of the record to BLUE.
19 | Depth of the well (meters) * | Depth | This applies for hand dug wells/drilled wells. The total depth of the well can be obtained from the ‘Hand Dug Well orDrilled WellConstruction Progress Format’ in the WASHCO file in the Woreda CMP Supervisor office. If you cannot get it in the WASHCO file you can leave the space unfilled.
20 | Water column of hand dug well (meters) * | Water_column | This applies only for hand dug wells. This is the height (in meter) of the well filled with water. It is advisable to take out all the water in the well and wait for 12 hours to measure the column of the water. A long stick can be inserted into the well and the wet part of the stick can be measured with a measuring tape to get the estimated water column. Usually, the measurement is taken in the morning before any beneficiary takes water from that source. If this measured data is not available in the WASHCO file you can leave the space unfilled.
21 | No. of WASHCO members | No_WASHCO_me | In here, you record the total number of WASHCO members (including the Chairman). This is easily found in the WASHCO application in the WASHCO file. If the status has changed during updating, change the color of the record to BLUE.
22 | No. of women members of WASHCO | No_of_women | Here, you indicate the total number of women members of the WASHCO who administers the water point constructed. If the total WASHCO members are 5 and 3 of them are women, you record 3 in the space provided. If the status has changed during updating, change the color of the record to BLUE.
23 | Chairperson of the WASHCO 1. Male 2. Female | Chairperson | If the leader/chairperson of the WASHCO of the water point is Male/Man you record 1; if the chairperson is Female/Woman, 2 will be recorded in the space provided. If the status has changed during updating, change the color of the record toBLUE.
24 | Number of households paying water user's fee | User_fee | This is just to know whether any household started paying for the water getting from the water point. If there are 15 households started paying the user fee, 15 will be indicated in the space provided. If there is no household paying user fee, 0 will be recorded in the space provided. Note:- the upfront O&M cash contributed by households during water point application & saved in MFI is not to be taken as user fee. If the status has changed during updating, change the color of the record to BLUE.
25 | Does the water scheme have trained pump attendant /caretaker? 1. Yes 2. No | Trained_CT | If the water point has no pump attendant or caretaker, this space will not be filled. If the water point has pump attendant or caretaker AND that person is trained in Water Point Operation and Maintenance, then 1 will be registered; If the water point has a pump attendant/caretaker BUT not trained in Water Point Operation and Maintenance, then 2 will be filled. If the status has changed during updating, change the color of the record to BLUE.
26 | Planned construction cost approved by WWT (including community contribution) Total (birr) | Planned_cost | This is the amount of birr (from COWASH and from the beneficiary community) required for the construction of the water point. Usually, 85% of the cost is from COWASH and the remaining 15% is covered by the beneficiary community in terms of material and labour or cash. This contribution from the community excludes the upfront cash contribution for O&M. This total planned construction cost figure can be obtained from the WWT approval form or the Funding Agreement (FA) signed between the WASHCO chairperson & WWT chairperson. In very few cases where the cost cannot be found in the WWT approval form or the FA, the cost filled in the field appraisal format can be taken. In any ways, the contribution from COWASH and the Community contribution should be added to arrive at the planned construction cost of the water point.
27 | Actual grant (birr) | Grant | The actual amount of funds (grant) expended (in birr) for the water point construction from COWASH contribution will be indicated here. The COWASH contribution spent for the construction (in birr) can be obtained from WASHCO ledger or by adding all the expenditures in the Receipts submitted to Woreda CMP Supervisor. It is advisable to talk to the Woreda CMP Supervisor or refer to the WASHCO file to get the actual construction cost spent for COWASH contribution.
28 | Actual community contribution in kind or/and in cash (birr) | Comm_contr | This is the contribution of the beneficiary community (in local material and labour or cash) converted into birr. If communities contribute cash for the construction and procure materials then this cash has to be included in the community contribution. However, the UPFRONT CASH CONTRIBUTED FOR O&M BY THE COMMUNITY SHOULD NOT BE INCLUDED HERE. The in kind community contribution converted in birr can be obtained from ‘CMP Community Material and Labour Supply Summary Format’ filled by WASHCO in cooperation with the contractor/artisan or any woreda staff assigned for the follow-up of the construction of the water point. If these formats have not been filled during construction of the water point, it will be difficult to estimate the community contribution. In this case, it is better to put the minimum contribution (15%) of the cost of the construction. Filling the formats during construction is thus mandatory.
29 | Actual total construction cost Total (birr) | Total_cost | The actual amount of funds expended (COWASH contribution + Community Contribution in birr) for the construction will be filled here. This is Column 30 + Column 31 of Form 1.
30 | Is the water source fenced? 1. Yes 2. No | Fenced | This is to know whether the water point is properly fenced or not.In case of springs the source, collection chamber, distribution points should be fenced.If the water point is fenced, then 1 will be filled if not 2 will be indicated in the space provided. If the status has changed during updating, change the color of the record toBLUE.
31 | Remarks | Remarks | Any important information that clarifies any of the columns or gives additional information about the water point can be indicated in the ‘Remarks’ column.
Name of Format:Form 2: Health Institution WASH Facility Inventory Format
This format is filled for health institutions where a water supply and/or latrine was constructed with the support of COWASH through the CMP approach.
Column no. in Form 2 | Name of The Column | Column name in database | Description of the column
1 | Serial number | OID | Running serial number (SN) for data collection. Changed to original id (OID) when moved to database.
2 | Kebele name | Kebele | Name of the kebele of the health facility where the water point and/or latrine is constructed with the COWASH support through the CMP approach.
3 | Village name (gott) | Village | Name of the village in the kebele of the health facility where the water point and/or latrine is constructed by COWASH.
4 | Name of the health facility | Site_name | The name of the Health Facility where the water point and/or latrine is constructed by COWASH will be indicated here. Name of the Health Facility must be unique so that there are no other health facilities with the same name in the Woreda. If the same health facility has two or more COWASH-facilities, add the abbreviation of the type of the built facility after the site name i.e. Mambuk HDW / Mambuk VIPL.
5 | Type of health facility 1. Clinic 2. Health Post 3. Upgraded Health Post 4. Health Center | H_facil_type | The code for the type of health facility where the water point and/or latrine is constructed with the COWASH support through the CMP approach. Example, if the health facility is Health Post, 1 will be filled; if it is a Health Center, 4 will be filled.
6 | X-coordinate (longitude) | X_coordinate | This is the longitudinal coordinate of the water point or latrine constructed for the health facility by COWASH. First make sure that the GPS is setup as per the instructions. Put the GPS on top of the water point or between the latrines (or next to latrine) before recording the longitude of the facility. Next, read the Longitude (Easting) or first figurein the GPS and record it here. Coordinates are in metersaccording to UTM Adindan CRS
7 | Y-coordinate (latitude) | Y_coordinate | This is the latitudinal coordinate of the water point or latrine constructed for the health facility by COWASH. First make sure that the GPS is setup as per the instructions. Put the GPS on top of the water point or between the latrines (or next to latrine) before recording the latitude of the facility. Next, read the Latitude (Northing) or second figure in the GPS and record it in the space provided. Coordinates are in meters according to UTM Adindan CRS
8 | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | UTM_zone | This is the position format of the GPS set for the data collection. UTM-zone can be checked from the GPS-device's screen with the coordinate data for the health institution. Please properly ready the GPS and indicate the appropriate number in the space provided by properly reading the GPS. Example, if the UTM-zone is 37N, you record this number in this space.
9 | Altitude (meter) | Altitude | First make sure that the GPS is setup as per the instructions. Be closer to the water point or latrine before recording the altitude of the area. Next read the altitude/elevation from the GPS and record it in the space provided.
10 | Type of safe water supply 1. No water supply 2. Protected well/spring 3. Rainwater harvesting 4. Shallow well with hand pump 5. Pipeline connection 6. Other safe water source | Type_of_SWS | Column 10 to Column 17 applies only for water points constructed by COWASH. In here, you record the type of water point constructed for the Health Facility. Indicate the Code of the water point only. For example, if the water point is Protected well or Spring, you indicate 2 or if the water point constructed is Shallow well with hand pump, you record 4 in the space provided.
11 | Functionality status of the water scheme 0. Abandoned during construction 1. Functional 2. Non-functional | Function | This is the space to indicate the functionality status of the water point at the time of visit. If the water point constructed is not functioning (pump broken, no adequate water for the beneficiaries, etc.) you put 2 in the space provided. If the water point constructed has no problem, you put 1 in the space provided. If the water point is abandoned during construction, 0 will be indicated in the space. Functionality of COWASH-facilities is checked every year. If the status changes from previous year the number is colored BLUE As an example, if non-functional water point has changed to functional record changes from 2 to 1.
12 | Reason for non-functionality 1. Broken 2. Not enough water 3. Management /Finance Problem 4. Other | Reason_f_non | This will not be filled if the Health Facility water point is functioning properly (if 1 is filled for Column 11). If the water point is not functioning (or 2 or 0 is filled for Column 11), the code for the reason of non-functionality will be indicated here. If the water point is non-functional due to pump breakage, 1 will be filled; if the water point has no adequate water, 2 will be filled; if the reason is not functioning due to management/finance problem, 3 will be filled. For reasons of non-functionalitynot mentioned in the list, you indicate 4 in the space provided. If the status has changed during updating, change the color of the the record to BLUE.
13 | Status of the water scheme 1. New 2. Rehabilitation 3. Expansion | Status | This refers to whether the health facility water point conctructed by COWASH is newly constructed or rehabilitated or expanded. If the water point is newly constructed, you indicate 1; if it is rehabilitated you fill 2; if it is expansion 3 will be filled.
14 | Yield of springs or machine drilled wells in litres per second * | Yield | In here, the amount of water (in liters) per second will be recorded. Yield has been measured during construction by construction supervisor. If the yield was not measured during construction and the information is not available, this can be left empty.
15 | Depth of the well (meters) * | Depth | This applies for hand dug wells/drilled wells. The total depth of the well dug/drilled for the health facility can be obtained from the ‘Hand Dug Well or Drilled Well Construction Progress Format’ in the WASHCO file in the Woreda CMP Supervisor office. If you cannot get it in the WASHCO file you can leave the space unfilled.
16 | Water column of hand dug well (meters) * | Water_column | This applies only for hand dug wells. This is the height (in meter) of the well filled with water. It is advisable to take out all the water in the well and wait for 12 hours to measure the column of the water. A long stick can be inserted into the depth of the well and the wet part of the stick can be measured with a measuring tape to get the estimated water column. Usually, the measurement is taken in the morning before any beneficiary takes water from that source. If this measured data is not available in the WASHCO file you can leave the space unfilled.
17 | Does the water scheme have trained pump attendant /caretaker? 1. Yes 2. No | Trained_CT | If the waterpoint constructed by COWASHfor the health facility has no pump attendant or caretaker, this space will not be filled. If the water point has pump attendant or caretaker AND that person is trained in Water Point Operation and Maintenance, then 1 will be registered; If the water point has a pump attendant/caretaker BUT not trained in Water Point Operation and Maintenance, then 2 will be filled. If the status has changed during updating, change the color of the the record to BLUE.
18 | How many latrine blocks constructed by COWASH | Lat_blocks | This is the number of building blocks (not the number of rooms in toilet) constructed for the health facility by COWASH during data collection year. For instance, if two buildings/toilets are constructed in the health facility, 2 will be recorded in the space provided.
19 | Year of construction /rehabilitation /expansion of the facility (Ethiopian calendar) | Y_of_constr | The year (in Ethiopian Calendar) when the water point constructed by COWASH for the health facility is constructed or rehabilitated or expanded completed will be recorded here. If it is a latrine, you will record the year when the construction of the latrine is completed. The year is FOUR digits. Example, if the water point construction/rehabilitation/expansion or the construction of the latrine is completed in 2005 Ethiopian Calendar, 2005 will be recorded; if it was completed in 2004, you will record 2004 in the space provided.
20 | Planned construction cost approved by WWT including community contribution Total (birr) | Planned_cost | This is the amount of birr (from COWASH AND from the beneficiary community) required for the construction of the water point and/or latrine. Usually, either a water point or latrine is constructed for a health facility. However, if both a water point and latrine are constructed by COWASH for a health facility, the planned construction cost will be the SUM of the cost required for the construction of the two facilities. Usually, 85% of the cost is from COWASH and the remaining 15% is covered by the beneficiary community in terms of material and labour or cash. This contribution from the community excludes the upfront cash contribution for O&M. This figure can be obtained from the field appraisal format filled for the water point and/or the latrine. If this is not found from the appraisal format (desk appraisal or field appraisal) you may take the planned cost of construction from the annual plan (for 85% from COWASH) and add 15% estimate contribution from the beneficiary community. In any ways, the contribution from COWASH and the Community contribution should be added to arrive at the planned construction cost of the facility or facilities.
21 | Actual grant (birr) | Grant | The actual amount of funds (grant) expended (in birr) for the water point and/or latrine construction from COWASH contribution will be indicated here. The COWASH contribution spent for the construction (in birr) can be obtained from WASHCO ledger or by adding all the expenditures in the receipts submitted to Woreda CMP Supervisor. It is advisable to talk to the Woreda CMP Supervisor or refer to the WASHCO file to get the actual construction cost spent from COWASH contribution.
22 | Actual community contribution in kind or/and in cash (birr) | Comm_contr | This is the contribution of the beneficiary community (in local material and labour) for the construction of the water point and/or the latrine for the health facility by COWASH converted into birr. The Community Contribution in birr can be obtained from ‘CMP Community Material and Labour Supply Summary Format’ filled by WASHCO in cooperation with the contractor/Artisan or any woreda staff assigned for the follow-up of the construction of the water point and/or latrine. If these formats have not been filled during construction of the water point and/or latrine, it will be difficult to estimate the community contribution. In this case, it is better to put the minimum contribution (15%) of the cost of the construction.
23 | Actual total construction cost Total (birr) | Total_cost | The actual amount of funds expended (COWASH contribution + Community Contribution in birr) for the construction of the water point and/or latrine will be filled here. This is Column 27 + Column 28 of Form 2.
24 | Remarks | Remarks | Any important information that clarifies to any of the columns or gives additional information about the water point and/or latrine can be indicated in the ‘Remarks’ column. For instance, the number of beneficiaries of the water point and latrine, disaggregated by sex can be indicated here separately.
Name of Format:Form 3: School WASH Facility Inventory Format
This format is filled for schools where water supply and/or latrine are/is constructed with the support of COWASH through the CMP approach.
Column no. in Form 3 | Name of The Column | Column name in database | Description of the column
1 | Serial number | OID | Running serial number (SN) for data collection. Changed to original id (OID) when moved to database.
2 | Kebele name | Kebele | Name of the kebele of the school where the water point and/or latrine is constructed with the COWASH support through the CMP approach.
3 | Village name (gott) | Village | Name of the village in the kebele of the school where the water point and/or latrine is constructed by COWASH.
4 | Name of the school | Site_name | The name of the school where the water point and/or latrine is constructed by COWASH will be indicated here. Name of the school must be unique so that there are no other schools with the same name in the Woreda. If the same school has two or more COWASH-facilities, add the abbreviation of the type of the built facility after the site name i.e. Mambuk HDW / Mambuk VIPL.
5 | Type of the school 1. Primary 1-4 2. Primary 5-8 3. Primary 1-8 4. Secondary 9-10 5. Secondary 11-12 6. Secondary 9-12 | S_facil_type | The code for the type of school where the water point and/or latrine is constructed with the COWASH support through the CMP approach. Example, if the school where the COWASH water point or latrine is constructed is Primary school with grade 1 to 4, then 1 will be indicated; If it is Primary with grade 5-8, then 2 will be recorded in the space provided. If the school that has got access to Water Supply or latrine is Primary with grade 1-8, then 3 will be filled.
6 | X-coordinate (longitude) | X_coordinate | This is the longitudinal coordinate of the water point or latrine constructed for the school by COWASH. First make sure that the GPS is setup as per the instructions. Put the GPS on top of the water point or between the latrines (or next to latrine) before recording the longitude of the facility. Next, read the Longitude (Easting) or first figure in the GPS and record it here. Coordinates are in meters according to UTM Adindan CRS
7 | Y-coordinate (latitude) | Y_coordinate | This is the latitudinal coordinate of the water point or the latrine constructed for the school by COWASH. First make sure that the GPS is setup as per the instructions. Put the GPS on top of the water point or between the latrines (or next to latrine) before recording the latitude of the facility. Next, read the Latitude (Northing) or second figure in the GPS and record it in the space provided. Coordinates are in meters according to UTM Adindan CRS
8 | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | UTM_zone | This is the position format of the GPS set for the data collection. UTM-zone can be checked from the GPS-device's screen with the coordinate data for the school. Please properly read the GPS and indicate the appropriate number in the space provided by properly reading the GPS. Example, if the UTM-zone is 37N, you record this number in this space.
9 | Altitude (meter) | Altitude | First make sure that the GPS is setup as per the instructions. Be closer to the water point or latrine before you record the altitude of the area. Next read the altitude/elevation from the GPS and record it in the space provided.
10 | Type of safe water supply 1. No water supply 2. Protected well/spring 3. Rainwater harvesting 4. Shallow well with hand pump 5. Pipeline connection 6. Other safe water source | Type_of_SWS | Column 10 to Column 17 applies only for water points constructed by COWASH. In Column 9, you record the code for the type of water point constructed for the school by COWASH. Indicate theCodeof the water point only. For example, if the water point is Protected well or Spring, you indicate 2 or if the water point constructed is Shallow well with hand pump, you record 4 in the space provided. If the water point constructed for the school is different from the types 1-5 indicated, you record 6.
11 | Functionality status of the water scheme 0. Abandoned during construction 1. Functional 2. Non-functional | Function | This is the space to indicate the functionality status of the water point at the time of visit. If the water point constructed is not functioning (pump broken, no adequate water for the beneficiaries, etc.) you put 2 in the space provided. If the water point constructed has no problem, you put 1 in the space provided. If the water point is abandoned during construction, 0 will be indicated in the space. Functionality of COWASH-facilities is checked every year. If the status changes from previous year the number is colored BLUE As an example, if non-functional water point has changed to functional record changes from 2 to 1.
12 | Reason for non-functionality 1. Broken 2. Not enough water 3. Management /Finance Problem 4. Other | Reason_f_non | This Column will not be filled if the school water point constructed/rehabilitated/expanded is functioning properly (if 1 is filled for Column 11). If the water point is not functioning (2 or 0 is filled for Column 11), thecodefor the reason of non-functionality will be indicated here. If the water point is non-functional due to pump breakage, 1 will be filled; if the water point has no adequate water, 2 will be filled; if the reason of non-functionality is management/finance problem, 3 will be filled. For reasons not mentioned in the list, you indicate 4 in the space provided. If the status has changed during updating, change the color of the the record to BLUE.
13 | Status of the water scheme 1. New 2. Rehabilitation 3. Expansion | Status | This refers to whether the school water point is newly constructed or rehabilitated or expanded. If the water point for the school by COWASH isNewly constructed, you indicate 1; if it is rehabilitated you fill 2; if it is expansion 3 will be filled.
14 | Yield of springs or machine drilled wells in litres per second * | Yield | In here, the amount of water (in liters) per second will be recorded. Yield has been measured during construction by construction supervisor.
15 | Depth of the well (meters) * | Depth | This applies for hand dug wells/drilled wells. The total depth of the well dug/drilled for the school can be obtained from the ‘Hand Dug Well or Drilled Well Construction Progress Format’ in the WASHCO file in the Woreda CMP Supervisor office. If you cannot get it in the WASHCO file you can leave the space unfilled.
16 | Water column of hand dug well (meters) * | Water_column | This applies only for hand dug wells. This is the height (in meter) of the well filled with water. It is advisable to take out all the water in the well and wait for 12 hours to measure the column of the water. A long stick can be inserted into the bottom of the well and then wet part of the stick can be measured with a measuring tape to get the estimated water column. Usually, the measurement is taken in the morning before any beneficiary takes water from that source. If this measured data is not available in the WASHCO-file you can leave the space unfilled.
17 | Does the water scheme have trained pump attendant /caretaker (1. Yes 2. No) | Trained_CT | If the water point constructed by COWASH for the school has no pump attendant or caretaker, this space will not be filled. If the water point has pump attendant or caretaker AND that person is trained in Water Point Operation and Maintenance, then 1 will be registered; If the water point has a pump attendant/caretaker BUT not trained in Water Point Operation and Maintenance, then 2 will be filled. If the status has changed during updating, change the color of the the record to BLUE.
18 | How many latrine blocks constructed by COWASH | Lat_blocks | This is the number of buildings/toilets constructed for the school by COWASH during data collection year. For instance, if two buildings/toilets are constructed by COWASH in the school, 2 will be recorded in the space provided.
19 | Number of rooms in the latrines constructed by COWASH | No_of_rooms | You count the number of rooms of the toilet build for the school and record in the space provided. Count the rooms, not the buildings.
20 | Year of construction /rehabilitation /expansion of the facility (Ethiopian calendar) | Y_of_constr | The year (in Ethiopian Calendar) when the water point for the school is constructed or rehabilitated or expanded by COWASH completed will be recorded here. The year of completion of the facility will be indicated in FOUR digits. Example, if the water point construction/rehabilitation/expansion or latrine construction is completed in 2005 Ethiopian Calendar, 2005 will be recorded; if it was completed in 2004, you will record 2004 in the space provided.
21 | Number of Male students | No_of_male | In here, you record the total number of male students of the school that the water point or latrine is constructed by COWASH. This can be found from the Parent-Teacher-Students Association/Committee file in the Woreda CMP Supervisor Office or in the Woreda Education Office. This is to be recorded for both functional or non-functional water points & latrines. If the status has changed during updating, change the color of the the record to BLUE.
22 | Number of Female students | No_of_female | The total number of Female Students of the school that the water point or latrine is constructed will be recorded here. This figure can be found from the Parent-Teacher-Students Association/Committee file in the Woreda CMP Supervisor Office or in the Woreda Education Office. This is to be recorded for both functional or non-functional water points & latrines. If the status has changed during updating, change the color of the the record to BLUE.
23 | Total number of students | Tot_students | The total number of Students of the school that the water point or latrine is constructed by COWASH will be recorded here. This figure can be found from the Parent-Teacher-Students Association/Committee file in the Woreda CMP Supervisor Office or in the Woreda Education Office. This is to be recorded for both functional or non-functional water points & latrines. If the status has changed during updating, change the color of the the record to BLUE.
24 | Number of staff | No_of_staff | The total number of teachers and other administration staff of the school (male + female) will be recorded here. This figure can be found from the Parent-Teacher-Students Association/Committee file in the Woreda CMP Supervisor Office or in the Woreda Education Office. This is to be recorded for both functional or non-functional water points & latrines. If the status has changed during updating, change the color of the the record to BLUE.
25 | Planned construction cost approved by WWT including community contribution Total (birr) | Planned_cost | This is the amount of birr (from COWASH and from the beneficiary community) required for the construction of the water point and/or latrine. Usually, either a water point or latrine is constructed for a school. However, if both a water point and latrine are constructed for a school, the planned construction cost will be the sum of the cost required for the construction of the two facilities. Usually, 85% of the cost is from COWASH and the remaining 15% is covered by the beneficiary community in terms of material and labour or cash. This contribution from the community excludes the upfront cash contribution. This figure can be obtained from the field appraisal format filled for the water point and/or the latrine. If this is not found from the appraisal format (desk appraisal or field appraisal) you may take the planned cost of construction from the annual plan (for 85% from COWASH) and add 15% estimate contribution from the beneficiary community. In any ways, the contribution from COWASH and the Community contribution should be added to arrive at the planned construction cost of the water point or latrine.
26 | Actual grant (birr) | Grant | The amount of funds (grant) spent (in birr) for the water point and/or latrine construction from COWASH contribution will be indicated here. The COWASH contribution spent for the construction (in birr) can be obtained from WASHCO ledger or by adding all the expenditures in the RECEIPTS submitted to Woreda CMP Supervisor. It is advisable to talk to the Woreda CMP Supervisor or refer to the WASHCO file to get the actual construction cost spent from COWASH contribution.
27 | Actual community contribution in kind and/or in cash (birr) | Comm_contr | This is the contribution of the beneficiary community (in local material and labour) for the construction of the water point and/or the latrine for the school converted into birr. The Community Contribution in birr can be obtained from ‘CMP Community Material and Labour Supply Summary Format’ filled by Parent-Teacher Association/WASHCO in cooperation with the contractor/Artisan or any woreda staff assigned for the follow-up of the construction of the water point and/or latrine. If these formats have not been filled during construction of the water point and/or latrine, it will be difficult to estimate the community contribution. In this case, it is better to put the minimum contribution (15%) of the cost of the construction.
28 | Actual total construction cost Total (birr) | Total_cost | The actual amount of funds expended (COWASH contribution + Community Contribution in birr) for the construction of the water point and/or latrine will be filled here. This is Column 29 + Column 30 of Form 3.
29 | Remarks | Remarks | Any important information that clarifies any of the columns or gives additional information about the water point and/or latrine can be indicated in the ‘Remarks’ column.

## Form 1 Water
| Form 1: Rural Community Water Supply Inventory Format | [7 empty] | Form 1: Rural Community Water Supply Inventory Format | [10 empty] | Form 1: Rural Community Water Supply Inventory Format
| Region: __________________________ |  |  | Zone: __________________________ |  | Woreda: __________________________
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
SN | Kebele name | Village name(gott) | Site name(Name of the WASH-facility) | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | Altitude (meter) | Type of protected water supply 1. Hand dug well 2. Rope pump 3. Shallow well 4. Deep well with distribution 5. Protected spring 6. Spring with distribution 7. Other | Functionality status of the water scheme 0. Abandoned during construction 1. Functional 2. Non-functional | Reason for non-functionality 1. Broken 2. Not enough water 3. Management /Finance Problem 4. Other | Total number of households having access to improved latrine and hand washing facility | Estimated number of households within 1.5 km radius of the scheme | Estimated number of households within 1.0 km radius of the scheme | Yield of springs or machine drilled wells in litres per second * | Status of the water scheme 1. New 2. Rehabilitation 3. Expansion | Year of construction /rehabilitation /expansion of the water scheme (Ethiopian calendar) | Estimated number of population using the scheme regardless of distance | Depth of the well (meters)* | Water column of hand dug well (meters)* | No. of WASHCO members | No. of women members of WASHCO | Chairperson of the WASHCO 1. Male 2. Female | Number of households paying the water user's fee | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | Planned construction cost approved by WWT including community contribution (birr) | Actual grant (birr) | Actual community contribution in kind or/and in cash (birr) | Actual total construction cost (birr) | Is the water source fenced? Y=Yes N=No | Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
| Form 1: Rural Community Water Supply Inventory Format | [7 empty] | Form 1: Rural Community Water Supply Inventory Format | [10 empty] | Form 1: Rural Community Water Supply Inventory Format
| Region: __________________________ |  |  | Zone: __________________________ |  | Woreda: __________________________
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
SN | Kebele name | Village name(gott) | Site name(Name of the WASH-facility) | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | Altitude (meter) | Type of protected water supply 1. Hand dug well 2. Rope pump 3. Shallow well 4. Deep well with distribution 5. Protected spring 6. Spring with distribution 7. Other | Functionality status of the water scheme 0. Abandoned during construction 1. Functional 2. Non-functional | Reason for non-functionality 1. Broken 2. Not enough water 3. Management /Finance Problem 4. Other | Total number of households having access to improved latrine and hand washing facility | Estimated number of households within 1.5 km radius of the scheme | Estimated number of households within 1.0 km radius of the scheme | Yield of springs or machine drilled wells in litres per second * | Status of the water scheme 1. New 2. Rehabilitation 3. Expansion | Year of construction /rehabilitation /expansion of the water scheme (Ethiopian calendar) | Estimated number of population using the scheme regardless of distance | Depth of the well (meters)* | Water column of hand dug well (meters)* | No. of WASHCO members | No. of women members of WASHCO | Chairperson of the WASHCO 1. Male 2. Female | Number of households paying the water user's fee | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | Planned construction cost approved by WWT including community contribution (birr) | Actual grant (birr) | Actual community contribution in kind or/and in cash (birr) | Actual total construction cost (birr) | Is the water source fenced? Y=Yes N=No | Remarks
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
| Form 1: Rural Community Water Supply Inventory Format | [7 empty] | Form 1: Rural Community Water Supply Inventory Format | [10 empty] | Form 1: Rural Community Water Supply Inventory Format
| Region: __________________________ |  |  | Zone: __________________________ |  | Woreda: __________________________
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
SN | Kebele name | Village name(gott) | Site name(Name of the WASH-facility) | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | Altitude (meter) | Type of protected water supply 1. Hand dug well 2. Rope pump 3. Shallow well 4. Deep well with distribution 5. Protected spring 6. Spring with distribution 7. Other | Functionality status of the water scheme 0. Abandoned during construction 1. Functional 2. Non-functional | Reason for non-functionality 1. Broken 2. Not enough water 3. Management /Finance Problem 4. Other | Total number of households having access to improved latrine and hand washing facility | Estimated number of households within 1.5 km radius of the scheme | Estimated number of households within 1.0 km radius of the scheme | Yield of springs or machine drilled wells in litres per second * | Status of the water scheme 1. New 2. Rehabilitation 3. Expansion | Year of construction /rehabilitation /expansion of the water scheme (Ethiopian calendar) | Estimated number of population using the scheme regardless of distance | Depth of the well (meters)* | Water column of hand dug well (meters)* | No. of WASHCO members | No. of women members of WASHCO | Chairperson of the WASHCO 1. Male 2. Female | Number of households paying the water user's fee | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | Planned construction cost approved by WWT including community contribution (birr) | Actual grant (birr) | Actual community contribution in kind or/and in cash (birr) | Actual total construction cost (birr) | Is the water source fenced? Y=Yes N=No | Remarks
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60

## Form 2 Health
| Form 2: Health Institution WASH Facility Inventory Format | [7 empty] | Form 2: Health Institution WASH Facility Inventory Format | [7 empty] | SKIP THIS IF RECORDING A WATER POINT | Form 2: Health Institution WASH Facility Inventory Format
| Region: __________________________ |  |  | Zone: __________________________ |  | Woreda: ________________________ |  |  | THIS AREA IS FOR RECORDING COWASH WATER POINTS ONLY. SKIP COLUMNS 10 TO 17 IF RECORDING A LATRINE
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
SN | Kebele name | Village name (gott) | Name of the health facility | Type of health facility 1=Clinic 2=Health Post 3=Upgraded Health Post 4=Health Center | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | Altitude (meter) | Type of safe water supply 1= No water supply 2=Protected well/spring 3=Rainwater harvesting 4=Shallow well with hand pump 5=Pipeline connection 6=Other safe water source | Functionality status of the water scheme 0=Abandoned during construction 1=Functional 2=Non-functional | Reason for non-functionality 1=Broken 2=Not enough water 3=Management /Finance problem 4=Other | Status of the water scheme 1=New 2=Rehabilitation 3=Expansion | Yield of springs or machine drilled wells in litres per second * | Depth of the well (meters)* | Water column of hand dug well (meters)* | Does the water scheme have trained pump attendant /caretaker? 1=Yes 2=No | How many latrine blocks constructed by COWASH? | Year of construction /rehabilitation /expansion of the facility (Ethiopian calendar) | Planned construction cost approved by WWT including community contribution (birr) | Actual grant (birr) | Actual community contribution in kind or/and in cash (birr) | Actual total construction cost (birr) | Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22

## Form 3 School
| Form 3: School WASH Facility Inventory Format | [7 empty] | Form 3: School WASH Facility Inventory Format | [7 empty] | SKIP THESE IF RECORDING A WATER POINT |  | Form 3: School WASH Facility Inventory Format
| Region: __________________________ |  |  | Zone: __________________________ |  | Woreda: __________________________ |  |  | THIS AREA IS FOR RECORDING COWASH WATER POINTS ONLY. SKIP COLUMNS 10 TO 17 IF RECORDING A LATRINE
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29
SN | Kebele name | Village name (gott) | Name of the school | Type of the school 1=Primary 1-4 2=Primary 5-8 3=Primary 1-8 4=Secondary 9-10 5=Secondary 11-12 6=Secondary 9-12 | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone (36N, 36P, 37N, 37P, 38N or 38P) | Altitude (meter) | Type of safe water supply 1=No water supply 2= Protected well/spring 3=Rainwater harvesting 4=Shallow well with hand pump 5=Pipeline connection 6=Other safe water source | Functionality status of the water scheme 0=Abandoned during construction 1=Functional 2=Non-functional | Reason for non-functionality 1=Broken 2=Not enough water 3=Management /Finance problem 4=Other | Status of the water scheme 1=New 2=Rehabilitation 3=Expansion | Yield of springs or machine drilled wells in litres per second* | Depth of the well (meters)* | Water column of hand dug well (meters)* | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | How many latrine blocks constructed by COWASH? | Number of rooms in the latrines constructed by COWASH? | Year of construction /rehabilitation /expansion of the facility (Ethiopian calendar) | Number of male students | Number of female students | Total number of students | Number of staff | Planned construction cost approved by WWT including community contribution (birr) | Actual grant (birr) | Actual community contribution in kind and/or in cash (birr) | Actual total construction cost (birr) | Remarks
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22

## DB1_Water
Original ID | Name of the region | Name of the zone | Name of the woreda | Kebele name | Village name (gott) | Site name (Name of the WASH-facility) | X-coordinate (longitude) | Y-coordinate (latitude) | UTM-zone 1=36N 2=36P 3=37N 4=37P 5=38N 6=38P | Altitude (meter) | Type of protected water supply 1=Hand dug well 2=Rope pump 3=Shallow well 4=Deep well with distribution 5=Protected spring 6=Spring with distribution 7=Other | Functionality status of the water scheme 0=Abandoned during construction 1=Functional 2=Non-functional | Reason for non-functionality 1=Broken 2=Not enough water 3=Management /Finance Problem 4=Other | Total number of households having access to improved latrine and hand washing facility | Estimated number of households within 1.5 km radius of the scheme | Estimated number of households within 1.0 km radius of the scheme | Yield of springs or machine drilled wells in litres per second * | Status of the water scheme 1=New 2=Rehabilitation 3=Expansion | Year of construction /rehabilitation /expansion of the water scheme (Ethiopian calendar) | Estimated number of population using the scheme regardless of distance | Depth of the well (meters)* | Water column of hand dug well (meters)* | No. of WASHCO members | No. of women members of WASHCO | Chairperson of the WASHCO 1=Male 2=Female | Number of households paying the water user's fee | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | Planned construction cost approved by WWT including community contribution Total (birr) | Actual grant (birr) | Actual community contribution in kind or/and in cash (birr) | Actual total construction cost Total (birr) | Is the water source fenced? Y=Yes N=No | Remarks
40401-0001 | 4 | 404 | 40401 | A/Gibe | Abako | Abako | 293990 | 946725 | 3 | 1600 | 5 | 1 |  |  |  |  | 0.01 | 1 | 2005 | 175 |  |  | 7 | 3 | 1 |  | N | 43000 | 24000 | 6000 | 30000 | Y
40401-0002 | 4 | 404 | 40401 | Ebicha | Abiyu | Abiyu | 296819 | 958278 | 3 | 1668 | 5 | 1 |  |  |  |  | 0.5 | 1 | 2005 | 340 |  |  | 7 | 4 | 1 |  | N | 43385 | 21000 | 3500 | 24500 | Y
40401-0003 | 4 | 404 | 40401 | A/Sombo | Agalo | Agalo | 288402 | 953800 | 3 | 1860 | 1 | 1 |  |  |  |  | 0.09 | 1 | 2005 | 158 |  |  | 7 | 3 | 1 |  | N | 47000 | 42800 | 6890 | 49690 | Y
40401-0004 | 4 | 404 | 40401 | A/Sombo | Bilate | Bilate | 289154 | 950222 | 3 | 1808 | 5 | 1 |  |  |  |  | 0.2 | 1 | 2005 | 180 |  |  | 7 | 4 | 1 |  | N | 42385 | 31000 | 4390 | 35390 | Y
40401-0005 | 4 | 404 | 40401 | A/Sombo | Bulodo | Bulodo | 288322 | 953394 | 3 | 1843 | 5 | 1 |  |  |  |  | 0.2 | 1 | 2005 | 155 |  |  | 7 | 3 | 1 |  | N | 50150 | 55950 | 17000 | 72950 | Y
40401-0006 | 4 | 404 | 40401 | A/Sombo | Dogoye | Dogoye | 290305 | 951742 | 3 | 1786 | 5 | 1 |  |  |  |  | 0.2 | 1 | 2005 | 378 |  |  | 7 | 4 | 1 |  | N | 44340 | 31000 | 4000 | 35000 | Y
40401-0007 | 4 | 404 | 40401 | A/Sombo | Girance | Girance | 288128 | 948556 | 3 | 1957 | 5 | 1 |  |  |  |  | 0.1 | 1 | 2005 | 308 |  |  | 7 | 3 | 1 |  | N | 45250 | 32500 | 6200 | 38700 | Y
40401-0008 | 4 | 404 | 40401 | Kolati | Gose | Gose | 292618 | 956372 | 3 | 1690 | 5 | 1 |  |  |  |  | 0.5 | 1 | 2005 | 180 |  |  | 7 | 4 | 1 |  | N | 44450 | 34000 | 6500 | 40500 | Y
40401-0009 | 4 | 404 | 40401 | A/Sombo | Hichini | Hichini | 285695 | 952633 | 3 | 1968 | 5 | 1 |  |  |  |  | 0.1 | 1 | 2005 | 191 |  |  | 7 | 4 | 1 |  | N | 47000 | 39500 | 6500 | 46000 | Y
40401-0010 | 4 | 404 | 40401 | A/Gibe | Kaso | Kaso | 294636 | 944728 | 3 | 1646 | 1 | 1 |  |  |  |  | 0.09 | 1 | 2005 | 300 |  |  | 7 | 3 | 1 |  | N | 46100 | 49000 | 7000 | 56000 | Y
40401-0011 | 4 | 404 | 40401 | Ebicha | Medale 1st | Medale 1st | 290206 | 945250 | 3 | 1641 | 1 | 1 |  |  |  |  | 0.3 | 1 | 2005 | 154 |  |  | 7 | 4 | 1 |  | N | 52000 | 73000 | 7000 | 80000 | Y
40401-0012 | 4 | 404 | 40401 | Benja | Objen | Objen | 291136 | 964366 | 3 | 1686 | 1 | 1 |  |  |  |  | 0.3 | 1 | 2005 | 320 |  |  | 7 | 3 | 1 |  | N | 47600 | 40700 | 6800 | 47500 | Y
40401-0013 | 4 | 404 | 40401 | Ebicha | Sale | Sale | 292618 | 956372 | 3 | 1690 | 5 | 1 |  |  |  |  | 0.09 | 1 | 2005 | 210 |  |  | 7 | 3 | 1 |  | N | 48000 | 31400 | 11600 | 43000 | Y
40401-0014 | 4 | 404 | 40401 | Ebicha | Shabmal | Shabmal | 290206 | 945250 | 3 | 1641 | 5 | 1 |  |  |  |  | 0.09 | 1 | 2005 | 270 |  |  | 7 | 4 | 1 |  | N | 43700 | 31000 | 6500 | 37500 | Y
40401-0015 | 4 | 404 | 40401 | A/Gibe | Sorgen | Sorgen | 293771 | 945745 | 3 | 1606 | 5 | 1 |  |  |  |  | 0.01 | 1 | 2005 | 265 |  |  | 7 | 4 | 1 |  | N | 44000 | 24000 | 5700 | 29700 | Y
40401-0016 | 4 | 404 | 40401 | Ebicha | WiXata 1st | WiXata 1st | 296569 | 955375 | 3 | 1630 | 5 | 1 |  |  |  |  | 0.09 | 1 | 2005 | 289 |  |  | 7 | 3 | 1 |  | N | 42385 | 14000 | 4000 | 18000 | Y
40401-0017 | 4 | 404 | 40401 | Amdo | Genjo | Genjo | 299065 | 950778 | 3 | 1654 | 1 | 1 |  |  | 47 |  | 0.25 | 1 | 2006 | 134 | 15 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0018 | 4 | 404 | 40401 | Amdo | Homa | Homa | 299965 | 940889 | 3 | 1680 | 5 | 1 |  |  | 37 |  | 7 | 1 | 2006 | 108 |  |  | 7 | 2 | 1 |  | N |  |  |  |  | Y
40401-0019 | 4 | 404 | 40401 | Amdo | Goro | Goro | 298357 | 950944 | 3 | 1690 | 1 | 1 |  |  | 30 |  | 0.6 | 1 | 2006 | 79 | 14 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0020 | 4 | 404 | 40401 | Amdo | Dire | Dire | 294740 | 951712 | 3 | 1705 | 1 | 1 |  |  | 40 |  | 8 | 1 | 2006 | 138 | 20 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0021 | 4 | 404 | 40401 | Amdo | Garo | Fintiri | 299640 | 950177 | 3 | 1649 | 5 | 1 |  |  | 27 |  | 0.9 | 1 | 2006 | 142 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0022 | 4 | 404 | 40401 | Amdo | Degaga | Degaga | 293995 | 949838 | 3 | 1677 | 5 | 1 |  |  | 42 |  | 0.9 | 1 | 2006 | 179 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0023 | 4 | 404 | 40401 | Amdo | Dire Lomicha | Dire Lomicha | 294748 | 951150 | 3 | 1695 | 1 | 1 |  |  | 17 |  | 0.7 | 1 | 2006 | 49 | 12 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0024 | 4 | 404 | 40401 | Roge | Chiri | Chiri | 290404 | 960950 | 3 | 1842 | 5 | 1 |  |  | 17 |  | 0.8 | 1 | 2006 | 92 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0025 | 4 | 404 | 40401 | Roge | Siba | Siba | 290320 | 956558 | 3 | 1886 | 5 | 1 |  |  | 21 |  | 0.7 | 1 | 2006 | 109 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0026 | 4 | 404 | 40401 | Roge | Horo | Horo Meti | 290722 | 959587 | 3 | 2012 | 5 | 1 |  |  | 19 |  | 0.7 | 1 | 2006 | 85 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0027 | 4 | 404 | 40401 | Roge | Bole | Bole | 285523 | 959100 | 3 | 2136 | 5 | 1 |  |  | 24 |  | 0.9 | 1 | 2006 | 140 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0028 | 4 | 404 | 40401 | Roge | Golba | Golba | 286666 | 954862 | 3 | 2021 | 5 | 1 |  |  | 10 |  | 0.4 | 1 | 2006 | 88 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0029 | 4 | 404 | 40401 | Roge | Welensu | Welensu | 287896 | 959924 | 3 | 2084 | 5 | 1 |  |  | 24 |  | 0.5 | 1 | 2006 | 228 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0030 | 4 | 404 | 40401 | Kolati | Burusa 2nd | Burusa 2nd | 288325 | 946490 | 3 | 1709 | 1 | 1 |  |  | 26 |  | 0.8 | 1 | 2006 | 216 | 15 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0031 | 4 | 404 | 40401 | Kolati | Kidane | Kidane | 289330 | 945678 | 3 | 1720 | 5 | 1 |  |  | 34 |  | 0.9 | 1 | 2006 | 155 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0032 | 4 | 404 | 40401 | Kolati | Anole 2nd | Anole 2nd | 289745 | 945769 | 3 | 1675 | 1 | 1 |  |  | 26 |  | 0.6 | 1 | 2006 | 157 | 16 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0033 | 4 | 404 | 40401 | Soloka | Boo | Boo | 284900 | 946163 | 3 | 1908 | 5 | 1 |  |  | 9 |  | 0.7 | 1 | 2006 | 70 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0034 | 4 | 404 | 40401 | Soloka | Bildimo | Bildimo | 283456 | 948765 | 3 | 1870 | 5 | 1 |  |  | 44 |  | 0.6 | 1 | 2006 | 279 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0035 | 4 | 404 | 40401 | Soloka | Gibe | Wechiti | 289876 | 946751 | 3 | 1917 | 5 | 1 |  |  | 25 |  | 0.7 | 1 | 2006 | 167 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0036 | 4 | 404 | 40401 | Soloka | Bildimaf Nole | Bildimaf Nole | 282367 | 948962 | 3 | 1856 | 5 | 1 |  |  | 44 |  | 0.9 | 1 | 2006 | 279 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0037 | 4 | 404 | 40401 | Soloka | Soloka | Badesa | 284459 | 944350 | 3 | 1857 | 5 | 1 |  |  | 16 |  | 0.8 | 1 | 2006 | 71 | 19 |  | 7 | 2 | 1 |  | N |  |  |  |  | Y
40401-0038 | 4 | 404 | 40401 | A/Gibe | Rike | Rike | 294427 | 947629 | 3 | 1660 | 1 | 1 |  |  | 25 |  | 0.6 | 1 | 2006 | 135 |  |  | 7 | 2 | 1 |  | N |  |  |  |  | Y
40401-0039 | 4 | 404 | 40401 | A/Gibe | Abu | Abu | 291905 | 945271 | 3 | 1661 | 5 | 1 |  |  | 26 |  | 0.8 | 1 | 2006 | 160 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0040 | 4 | 404 | 40401 | A/Gibe | Jibat | Jibat | 293652 | 945236 | 3 | 1648 | 1 | 1 |  |  | 58 |  | 0.9 | 1 | 2006 | 340 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0041 | 4 | 404 | 40401 | Eebicha | Agamso | Agamso | 296097 | 955490 | 3 | 1658 | 1 | 1 |  |  | 42 |  | 0.7 | 1 | 2006 | 168 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0042 | 4 | 404 | 40401 | Eebicha | Melka Hidha | Melka Hidha | 293381 | 953826 | 3 | 1667 | 5 | 1 |  |  | 23 |  | 0.6 | 1 | 2006 | 112 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0043 | 4 | 404 | 40401 | Eebicha | Siba | Siba | 295691 | 957835 | 3 | 1654 | 1 | 1 |  |  | 44 |  | 0.9 | 1 | 2006 | 152 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0044 | 4 | 404 | 40401 | Eebicha | Furkani | Furkani | 294413 | 955207 | 3 | 1663 | 1 | 1 |  |  | 29 |  | 0.8 | 1 | 2006 | 138 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0045 | 4 | 404 | 40401 | Boramaa | Dobbe | Dobbe | 283219 | 941711 | 3 | 1751 | 5 | 1 |  |  | 20 |  | 0.6 | 1 | 2006 | 95 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0046 | 4 | 404 | 40401 | Boramaa | Gudari | Gudari | 282050 | 941318 | 3 | 1660 | 5 | 1 |  |  | 19 |  | 0.9 | 1 | 2006 | 245 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0047 | 4 | 404 | 40401 | Boramaa | Adamii | Adamii | 278820 | 939306 | 3 | 1818 | 5 | 1 |  |  | 24 |  | 0.8 | 1 | 2006 | 64 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0048 | 4 | 404 | 40401 | Boramaa | Bollo | Bollo | 280386 | 941225 | 3 | 1786 | 5 | 1 |  |  | 21 |  | 0.9 | 1 | 2006 | 225 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0049 | 4 | 404 | 40401 | Boramaa | Ejersa | Ejersa | 280853 | 942146 | 3 | 1761 | 5 | 1 |  |  | 29 |  | 0.7 | 1 | 2006 | 245 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0050 | 4 | 404 | 40401 | A Sombo | H Gabii | H Gabii | 289975 | 955349 | 3 | 1820 | 5 | 1 |  |  | 17 |  | 0.7 | 1 | 2006 | 97 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0051 | 4 | 404 | 40401 | A Sombo | Saalee | Saalee | 287423 | 952660 | 3 | 1854 | 5 | 1 |  |  | 19 |  | 0.9 | 1 | 2006 | 144 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0052 | 4 | 404 | 40401 | A Sombo | Kusaye 1fa | Kusaye 1fa | 289874 | 955647 | 3 | 1839 | 5 | 1 |  |  | 15 |  | 0.7 | 1 | 2006 | 104 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0053 | 4 | 404 | 40401 | A Sombo | Girance 2fa | Girance 2fa | 288550 | 949444 | 3 | 1852 | 5 | 1 |  |  | 19 |  | 0.5 | 1 | 2006 | 132 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0054 | 4 | 404 | 40401 | A Sombo | Kedo 2fa | Kedo 2fa | 288303 | 951381 | 3 | 1844 | 1 | 1 |  |  | 17 |  | 0.6 | 1 | 2006 | 110 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0055 | 4 | 404 | 40401 | A Sombo | Micha | Micha | 287801 | 950881 | 3 | 1894 | 5 | 1 |  |  | 16 |  | 0.7 | 1 | 2006 | 92 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0056 | 4 | 404 | 40401 | A Sombo | Bondawo | Bondawo | 288788 | 954714 | 3 | 1873 | 5 | 1 |  |  | 20 |  | 0.9 | 1 | 2006 | 110 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0057 | 4 | 404 | 40401 | A Sombo | Bilate | Bilate | 289918 | 950804 | 3 | 1790 | 5 | 1 |  |  | 15 |  | 0.7 | 1 | 2006 | 32 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0058 | 4 | 404 | 40401 | A Sombo | Kedo 1st | Kedo 1st | 290334 | 981735 | 3 | 1767 | 5 | 1 |  |  | 20 |  | 0.7 | 1 | 2006 | 49 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0059 | 4 | 404 | 40401 | A Sombo | Tnike | Tnike | 292565 | 957645 | 3 | 1634 | 5 | 1 |  |  | 16 |  | 0.6 | 1 | 2006 | 86 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0060 | 4 | 404 | 40401 | Benjaa | Wuye | Wuye | 293330 | 960653 | 3 | 1618 | 1 | 1 |  |  | 34 |  | 0.9 | 1 | 2006 | 199 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0061 | 4 | 404 | 40401 | Benjaa | Lelistu Hora | Lelistu Hora | 293242 | 961994 | 3 | 1619 | 1 | 1 |  |  | 30 |  | 0.8 | 1 | 2006 | 193 | 17 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0062 | 4 | 404 | 40401 | Iluu | Denyu Halu | Denyu Halu | 279741 | 964340 | 3 | 1730 | 5 | 1 |  |  | 10 |  | 0.6 | 1 | 2006 | 81 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0063 | 4 | 404 | 40401 | Iluu | Bocho | Bocho | 281952 | 965628 | 3 | 2009 | 5 | 1 |  |  | 27 |  | 0.4 | 1 | 2006 | 145 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0064 | 4 | 404 | 40401 | Iluu | Semoni | Semoni | 283409 | 969901 | 3 | 2049 | 5 | 1 |  |  | 17 |  | 0.8 | 1 | 2006 | 58 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0065 | 4 | 404 | 40401 | Iluu | Gatira | Gatira | 278899 | 971533 | 3 | 1748 | 1 | 1 |  |  | 28 |  | 0.7 | 1 | 2006 | 126 | 16 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0066 | 4 | 404 | 40401 | Iluu | Hangari | Hangari | 279923 | 971105 | 3 | 1827 | 1 | 1 |  |  | 23 |  | 0.8 | 1 | 2006 | 127 | 13 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0067 | 4 | 404 | 40401 | Iluu | Kono Werebo | Kono Werebo | 279735 | 972273 | 3 | 1885 | 1 | 1 |  |  | 13 |  | 0.8 | 1 | 2006 | 66 | 15 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0068 | 4 | 404 | 40401 | Kolati | Health Post | Fincha 1st | 299570 | 950980 | 3 | 1670 | 1 | 1 |  |  |  |  | 0.6 | 1 | 2006 | 466 | 14 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0069 | 4 | 404 | 40401 | Ebicha | Education | Agams | 289949 | 945657 | 3 | 1710 | 1 | 1 |  |  |  |  | 0.8 | 1 | 2006 | 793 | 16 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0070 | 4 | 404 | 40401 | Solloka | Health Center | Geja | 282815 | 945693 | 3 | 1699 | [8 empty] | 2006 | [7 empty] | N |  |  |  |  | Y
40401-0071 | 4 | 404 | 40401 | Benjaa | Tulu Haro | Tulu Haro | 292132 | 969490 | 3 | 1654 | 1 | 1 |  |  | 21 |  | 0.1 | 1 | 2006 | 250 | 16 |  | 7 | 4 | 1 |  | N |  |  |  |  | Y
40401-0072 | 4 | 404 | 40401 | Benjaa | Chirri | Cirri | 292355 | 961249 | 3 | 1671 | 1 | 1 |  |  | 28 |  | 0.09 | 1 | 2006 | 310 | 14 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0073 | 4 | 404 | 40401 | Ebbicha | Ebiche 2fa | Ebiche 2fa | 292161 | 953266 | 3 | 1655 | 1 | 1 |  |  | 22 |  | 0.3 | 1 | 2006 | 231 | 17 |  | 7 | 4 | 1 |  | N |  |  |  |  | Y
40401-0074 | 4 | 404 | 40401 | Kolati | Koneji 1fa | Koneji 1fa | 289634 | 942841 | 3 | 1636 | 1 | 1 |  |  | 27 |  | 0.2 | 1 | 2006 | 210 | 12 |  | 7 | 4 | 1 |  | N |  |  |  |  | Y
40401-0075 | 4 | 404 | 40401 | Kolati | Buruse 1fa | Buruse 1fa | 288314 | 945489 | 3 | 1745 | 1 | 1 |  |  | 21 |  | 0.2 | 1 | 2006 | 195 | 14 |  | 7 | 4 | 1 |  | N |  |  |  |  | Y
40401-0076 | 4 | 404 | 40401 | Kolati | Fincha 2fa | Fincha 2fa | 291248 | 947614 | 3 | 1659 | 1 | 1 |  |  | 21 |  | 0.2 | 1 | 2006 | 240 | 18 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0077 | 4 | 404 | 40401 | A Gibe | Ajila | Ajilaa | 294011 | 948443 | 3 | 1654 | 1 | 1 |  |  | 29 |  |  |  | 2006 | 192 | 21 |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0078 | 4 | 404 | 40401 | A Gibe | Melko | Malkoo | 294540 | 945655 | 3 | 1652 | 1 | 1 |  |  | 21 |  |  |  | 2006 | 220 | 18 |  | 7 | 4 | 1 |  | N |  |  |  |  | Y
40401-0079 | 4 | 404 | 40401 | A/Gibe | Agalo | Agalo | 297252 | 947440 | 3 | 1654 | 5 | 1 |  |  | 95 |  | 0.3 | 1 | 2007 | 134 | 15 |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0080 | 4 | 404 | 40401 | A/Gibe | Abbu | Abbu | 295937 | 944027 | 3 | 1770 | 5 | 1 |  |  | 137 |  | 0.5 | 1 | 2007 | 137 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0081 | 4 | 404 | 40401 | A/Gibe | Baddessa | Baddessa | 295142 | 945632 | 3 | 1670 | 5 | 1 |  |  | 67 |  | 0.6 | 1 | 2007 | 67 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0082 | 4 | 404 | 40401 | Amdo | Qasho | Qasho | 300509 | 953349 | 3 | 1705 | 5 | 1 |  |  | 185 |  | 0.8 | 1 | 2007 | 138 | 20 |  | 7 | 3 | 1 |  | N |  | 10500 | 3675 | 14175 | Y
40401-0083 | 4 | 404 | 40401 | Amdo | Xaffara(Caffe Cinqa) | Xaffara(Caffe Cinqa) | 300202 | 951589 | 3 | 1769 | 5 | 1 |  |  | 110 |  | 0.9 | 1 | 2007 | 142 |  |  | 7 | 3 | 1 |  | N |  | 13750 | 4812 | 18562 | Y
40401-0084 | 4 | 404 | 40401 | Amdo | Xaffara(Hallu) | Xaffara(Hallu) | 301615 | 951832 | 3 | 1649 | 5 | 1 |  |  | 51 |  | 51 | 1 | 2007 | 179 |  |  | 7 | 3 | 1 |  | N |  | 13750 | 5500 | 19250 | Y
40401-0085 | 4 | 404 | 40401 | Benjaa | Suka | Suka | 301759 | 972015 | 3 | 1695 | 5 | 1 |  |  | 190 |  | 0.7 | 1 | 2007 | 49 | 12 |  | 7 | 3 | 1 |  | N |  | 13750 | 4812 | 18562 | Y
40401-0086 | 4 | 404 | 40401 | Ilfat | Cori | Cori | 370124 | 841835 | 3 | 1842 | 5 | 1 |  |  | 154 |  | 0.8 | 1 | 2007 | 92 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 6600 | 28600 | Y
40401-0087 | 4 | 404 | 40401 | Ebbicha | Gara Gura | Gara Gura | 296825 | 956738 | 3 | 1604 | 5 | 1 |  |  | 232 |  | 0.7 | 1 | 2007 | 232 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 6600 | 28600 | Y
40401-0088 | 4 | 404 | 40401 | Ebichaa | Ebicha 1faa | Ebicha 1faa | 292111 | 954118 | 3 | 1500 | 1 | 1 |  |  | 135 |  | 0.5 | 1 | 2007 | 135 |  |  | 7 | 3 | 1 |  | N |  | 38500 | 13475 | 51975 | Y
40401-0089 | 4 | 404 | 40401 | Ebicha | Jarso | Jarso | 294365 | 958985 | 3 | 1450 | 1 | 1 |  |  | 88 |  | 0.7 | 1 | 2007 | 88 |  |  | 7 | 3 | 1 |  | N |  | 18600 | 6510 | 25110 | Y
40401-0090 | 4 | 404 | 40401 | Boramaa | Ejersa | Ejersa | 280068 | 941309 | 3 | 2021 | 5 | 1 |  |  | 10 |  | 0.4 | 1 | 2007 | 88 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 6600 | 28600 | Y
40401-0091 | 4 | 404 | 40401 | Boramaa | Gurguddu | Gurguddu | 281254 | 937404 | 3 | 2084 | 5 | 1 |  |  | 24 |  | 0.5 | 1 | 2007 | 228 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 6600 | 28600 | Y
40401-0092 | 4 | 404 | 40401 | Boramaa | Tuli | Tuli | 281611 | 938245 | 3 | 1709 | 5 | 1 |  |  | 26 |  | 0.8 | 1 | 2007 | 216 | 15 |  | 7 | 3 | 1 |  | N |  | 22000 | 6600 | 28600 | Y
40401-0093 | 4 | 404 | 40401 | Boramaa | Barama | Barama | 283610 | 938903 | 3 | 1720 | 1 | 1 |  |  |  |  | 0.9 | 1 | 2007 | 155 |  |  | 7 | 3 | 1 |  | N |  |  | 6200 |  | Y
40401-0094 | 4 | 404 | 40401 | A/Sombo | Baddeyi | Baddeyi | 290434 | 950577 | 3 | 1675 | 5 | 1 |  |  | 26 |  | 0.6 | 1 | 2007 | 157 | 16 |  | 7 | 3 | 1 |  | N |  | 26000 | 90100 | 35100 | Y
40401-0095 | 4 | 404 | 40401 | A Sombo | Odaa Jahan | Odaa Jahan | 291692 | 951507 | 3 | 1908 | 5 | 1 |  |  | 9 |  | 0.7 | 1 | 2007 | 70 |  |  | 7 | 3 | 1 |  | N |  | 35500 | 12425 | 47925 | Y
40401-0096 | 4 | 404 | 40401 | A Sombo | Baggee | Baggee | 288846 | 956354 | 3 | 1780 | 5 | 1 |  |  | 44 |  | 0.6 | 1 | 2007 | 279 |  |  | 7 | 3 | 1 |  | N |  | 27500 | 9625 | 37125 | Y
40401-0097 | 4 | 404 | 40401 | A Sombo | Goroo | Goroo | 288946 | 955694 | 3 | 1660 | 1 | 1 |  |  | 57 |  | 0.7 | 1 | 2007 | 57 | 16 |  | 7 | 3 | 1 |  | N |  | 19000 | 6650 | 25650 | Y
40401-0098 | 4 | 404 | 40401 | A Sombo | Gidole | Gidole | 285695 | 957105 | 3 | 1670 | 5 | 1 |  |  | 44 |  | 0.9 | 1 | 2007 | 279 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0099 | 4 | 404 | 40401 | A Sombo | Daggo Digar | Daggo Digar | 291426 | 951615 | 3 | 1710 | 5 | 1 |  |  | 16 |  | 0.8 | 1 | 2007 | 71 |  |  | 7 | 2 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0100 | 4 | 404 | 40401 | A Sombo | Arere | Arere | 285871 | 959253 | 3 | 1680 | 5 | 1 |  |  | 25 |  |  | 1 | 2007 | 135 | 19 |  | 7 | 2 | 1 |  | N |  | 19750 | 6912 | 26662 | Y
40401-0101 | 4 | 404 | 40401 | Amdo | Guraa | Guraa | 300202 | 951589 | 3 | 1661 | 5 | 1 |  |  | 113 |  | 0.6 | 1 | 2007 | 113 |  |  | 7 | 3 | 1 |  | N |  | 13750 | 4812 | 18562 | Y
40401-0102 | 4 | 404 | 40401 | Maaxoo | Sololo | Sololo | 276176 | 949001 | 3 | 1648 | 5 | 1 |  |  | 147 |  | 0.8 | 1 | 2007 | 147 |  |  | 7 | 3 | 1 |  | N |  | 16750 | 5862 | 22612 | Y
40401-0103 | 4 | 404 | 40401 | Maaxoo | Mokofa | Mokofaa | 282203 | 953730 | 3 | 1658 | 5 | 1 |  |  | 144 |  | 0.9 | 1 | 2007 | 144 |  |  | 7 | 3 | 1 |  | N |  | 23000 | 8050 | 31050 | Y
40401-0104 | 4 | 404 | 40401 | Maaxoo | Galano | Galano | 284876 | 953853 | 3 | 1667 | 5 | 1 |  |  | 167 |  | 0.7 | 1 | 2007 | 167 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0105 | 4 | 404 | 40401 | Maaxoo | Diire Amole | Diire Amole | 281542 | 960686 | 3 | 1654 | 5 | 1 |  |  | 44 |  | 0.6 | 1 | 2007 | 44 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0106 | 4 | 404 | 40401 | Soloqa | Bilo 1st | Bilo 1st | 284576 | 944184 | 3 | 1663 | 5 | 1 |  |  | 64 |  | 0.9 | 1 | 2007 | 64 |  |  | 7 | 3 | 1 |  | N |  | 16250 | 4875 | 21125 | Y
40401-0107 | 4 | 404 | 40401 | Soloqa | Ba'oo | Ba'oo | 286639 | 945716 | 3 | 1751 | 5 | 1 |  |  | 20 |  | 0.8 | 1 | 2007 | 20 |  |  | 7 | 3 | 1 |  | N |  | 13750 | 4125 | 17875 | Y
40401-0108 | 4 | 404 | 40401 | Soloqa | Busasi | Busasi | 285773 | 950957 | 3 | 1660 | 5 | 1 |  |  | 19 |  | 0.6 | 1 | 2007 | 19 |  |  | 7 | 3 | 1 |  | N |  | 13750 | 4125 | 17875 | Y
40401-0109 | 4 | 404 | 40401 | Soloqa | Bilo 2ffaa | Bilo 2ffaa | 185455 | 949299 | 3 | 1818 | 1 | 1 |  |  | 91 |  | 0.9 | 1 | 2007 | 91 |  |  | 7 | 3 | 1 |  | N |  | 15500 | 5425 | 20925 | Y
40401-0110 | 4 | 404 | 40401 | Soloqa | Malko | Malko | 265773 | 950950 | 3 | 1786 | 5 | 1 |  |  | 69 |  | 0.8 | 1 | 2007 | 69 |  |  | 7 | 3 | 1 |  | N |  | 13750 | 4125 | 17875 | Y
40401-0111 | 4 | 404 | 40401 | Roggee | Mojoo | Mojoo | 290307 | 957545 | 3 | 1820 | 5 | 1 |  |  | 199 |  | 0.7 | 1 | 2007 | 199 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0112 | 4 | 404 | 40401 | A /Gibee | M/B/Sa A/Gibe | M/B/Sa A/Gibe | 294671 | 945739 | 3 | 1670 | 1 | 1 |  |  |  |  | 0.6 | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 37745 | 5661 | 43406 | Y
40401-0113 | 4 | 404 | 40401 | A /Gibee | Rikke | Rikke | 294422 | 947366 | 3 | 1690 | 1 | 1 |  |  | 56 |  | 0.6 | 1 | 2007 | 56 |  |  | 7 | 3 | 1 |  | N |  | 41705 | 8341 | 50046 | Y
40401-0114 | 4 | 404 | 40401 | Benja | Kombo | Kombo | 289074 | 964131 | 3 | 1540 | 1 | 1 |  |  | 60 |  | 8 | 1 | 2007 | 60 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0115 | 4 | 404 | 40401 | Benja | Deggo | Deggo | 221849 | 962121 | 3 | 1690 | 1 | 1 |  |  | 187 |  | 0.6 | 1 | 2007 | 187 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0116 | 4 | 404 | 40401 | Benja | Hosoo | Hosoo | 293260 | 963663 | 3 | 1589 | 1 | 1 |  |  | 188 |  | 0.6 | 1 | 2007 | 188 |  |  | 7 | 3 | 1 |  | N |  |  | 6200 |  | Y
40401-0117 | 4 | 404 | 40401 | Ilfata | Ilfata | Ilfata | 286581 | 962759 | 3 | 1789 | 1 | 1 |  |  | 118 |  | 0.6 | 1 | 2007 | 118 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0118 | 4 | 404 | 40401 | Ilfata | Caffe Gurre | Caffe Gurre | 286996 | 962284 | 3 | 1677 | 1 | 1 |  |  | 192 |  | 7 | 1 | 2007 | 192 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0119 | 4 | 404 | 40401 | Ilfata | Shaalaqa | Shaalaqa | 370341 | 842125 | 3 | 1500 | 1 | 1 |  |  | 86 |  | 0.6 | 1 | 2007 | 86 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0120 | 4 | 404 | 40401 | Ilfata | Gomose | Gomose | 287169 | 961251 | 3 | 1897 | 1 | 1 |  |  | 168 |  | 0.7 |  | 2007 | 168 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0121 | 4 | 404 | 40401 | Borama | M/B/Sa Borama HDW | M/B/Sa Borama HDW | 283216 | 940730 | 3 | 1679 | 1 | 1 |  |  |  |  | 0.6 | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0122 | 4 | 404 | 40401 | Rogge | Deggoo | Deggoo | 289708 | 957879 | 3 | 1661 | 1 | 1 |  |  | 98 |  |  | 1 | 2007 | 98 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0123 | 4 | 404 | 40401 | Maaxoo | Mokofa | Mokofa | 280356 | 951576 | 3 | 1590 | 1 | 1 |  |  | 122 |  |  | 1 | 2007 | 122 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0124 | 4 | 404 | 40401 | Maaxoo | Muce | Muce | 282156 | 955844 | 3 | 1689 | 1 | 1 |  |  | 129 |  |  | 1 | 2007 | 129 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0125 | 4 | 404 | 40401 | Ebicha | Dirre Abaso | Dirre Abaso | 293935 | 957198 | 3 | 1699 | 1 | 1 |  |  | 88 |  |  | 1 | 2007 | 88 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0126 | 4 | 404 | 40401 | Ebicha | Botori | Botori | 293996 | 958033 | 3 | 1490 | 1 | 1 |  |  | 141 |  |  | 1 | 2007 | 141 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0127 | 4 | 404 | 40401 | Ebicha | Bijamo | Bijamo | 294800 | 953978 | 3 | 1600 | 1 | 1 |  |  | 132 |  |  | 1 | 2007 | 132 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0128 | 4 | 404 | 40401 | Benja | Tulluharoo | Tulluharoo | 293223 | 961991 | 3 | 1590 | 1 | 1 |  |  | 219 |  |  | 1 | 2007 | 219 |  |  | 7 | 3 | 1 |  | N |  |  | 6200 |  | Y
40401-0129 | 4 | 404 | 40401 | Benja | Gubaya 2ffaa | Gubaya 2ffaa | 287306 | 960128 | 3 | 1680 | 1 | 1 |  |  | 190 |  |  | 1 | 2007 | 190 |  |  | 7 | 3 | 1 |  | N |  | 21700 | 7595 | 29295 | Y
40401-0130 | 4 | 404 | 40401 | Benja | Gubaya 1ffaa | Gubaya 1ffaa | 287609 | 963130 | 3 | 1780 | 1 | 1 |  |  | 167 |  |  | 1 | 2007 | 167 |  |  | 7 | 3 | 1 |  | N |  | 31000 | 9300 | 40300 | Y
40401-0131 | 4 | 404 | 40401 | Benja | Bisili | Bisili | 292598 | 959096 | 3 | 1660 | 1 | 1 |  |  | 189 |  |  | 1 | 2007 | 189 |  |  | 7 | 3 | 1 |  | N |  | 15500 | 5425 | 20925 | Y
40401-0132 | 4 | 404 | 40401 | Rogge | Bole | Bole | 285196 | 959858 | 3 | 1666 | 5 | 1 |  |  | 80 |  |  | 1 | 2007 | 80 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0133 | 4 | 404 | 40401 | Rogge | Deggoo Adami | Deggoo Adami | 299708 | 957879 | 3 | 1580 | 1 | 1 |  |  | 84 |  |  | 1 | 2007 | 84 |  |  | 7 | 3 | 1 |  | N |  | 31000 | 9300 | 40300 | Y
40401-0134 | 4 | 404 | 40401 | Rogge | Kibbi | Kibbi | 286413 | 958053 | 3 | 1754 | 5 | 1 |  |  | 142 |  |  | 1 | 2007 | 142 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0135 | 4 | 404 | 40401 | Rogge | Baddeyi | Baddeyi | 290456 | 950530 | 3 | 1675 | 5 | 1 |  |  | 165 |  |  | 1 | 2007 | 165 |  |  | 7 | 3 | 1 |  | N |  |  |  |  | Y
40401-0136 | 4 | 404 | 40401 | Rogge | Sisigo | Sisigo | 285038 | 970695 | 3 | 1752 | 5 | 1 |  |  | 117 |  |  | 1 | 2007 | 117 |  |  | 7 | 3 | 1 |  | N |  |  | 6200 |  | Y
40401-0137 | 4 | 404 | 40401 | Rogge | Cirri | Cirri | 283050 | 975386 | 3 | 1650 | 1 | 1 |  |  | 382 |  |  | 1 | 2007 | 382 |  |  | 7 | 3 | 1 |  | N |  | 27000 | 9450 | 36450 | Y
40401-0138 | 4 | 404 | 40401 | Amdo | Barusi | Barusi | 295168 | 951506 | 3 | 1505 | 5 | 1 |  |  | 99 |  |  | 1 | 2007 | 99 |  |  | 7 | 3 | 1 |  | N |  |  | 5500 |  | Y
40401-0139 | 4 | 404 | 40401 | Amdo | Goro 2ffaa | Goro 2ffaa | 297768 | 955053 | 3 | 1757 | 1 | 1 |  |  | 206 |  |  | 1 | 2007 | 206 |  |  | 7 | 3 | 1 |  | N |  | 30250 | 9075 | 39325 | Y
40401-0140 | 4 | 404 | 40401 | A/Sombo | Mexxi | Mexxi | 290434 | 950571 | 3 | 1690 | 5 | 1 |  |  | 62 |  |  | 1 | 2007 | 62 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0141 | 4 | 404 | 40401 | Iluu | Duwiso | Duwiso | 282469 | 963374 | 3 | 1569 | 5 | 1 |  |  | 73 |  |  | 1 | 2007 | 73 |  |  | 7 | 3 | 1 |  | N |  | 22000 | 7700 | 29700 | Y
40401-0142 | 4 | 404 | 40401 | Iluu | Darge | Darge | 284495 | 966050 | 3 | 1790 | 1 | 1 |  |  | 87 |  |  | 1 | 2007 | 87 |  |  | 7 | 3 | 1 |  | N |  | 31000 | 9300 | 40300 | Y
40401-0143 | 4 | 404 | 40401 | Iluu | Mucuco | Mucuco | 284935 | 967063 | 3 | 1679 | 1 | 1 |  |  | 84 |  |  | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 34100 | 6820 | 40920 | Y
40401-0144 | 4 | 404 | 40401 | Iluu | Sombo | Somboo | 283537 | 967100 | 3 | 1644 | 1 | 1 |  |  | 110 |  |  | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 28500 | 7125 | 35625 | Y
40401-0145 | 4 | 404 | 40401 | Iluu | Samoni 2ffaa | Samoni 2ffaa | 282979 | 968969 | 3 | 1769 | 1 | 1 |  |  | 55 |  |  | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 31000 | 9300 | 40300 | Y
40401-0146 | 4 | 404 | 40401 | Qolati | Burusa 1ffaa | Burusa 1ffaa | 287994 | 945233 | 3 | 1678 | 5 | 1 |  |  | 74 |  |  | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 27500 | 6875 | 34375 | Y
40401-0147 | 4 | 404 | 40401 | Qolati | Konneji 1ffaa | Konneji 1ffaa | 289656 | 942912 | 3 | 1770 | 1 | 1 |  |  | 103 |  |  | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 34500 | 8625 | 43125 | Y
40401-0148 | 4 | 404 | 40401 | Qolati | Finca'a 2ffaa | Finca'a 2ffaa | 288918 | 943520 | 3 | 1800 | 1 | 1 |  |  | 32 |  |  | 1 | 2007 |  |  |  | 7 | 3 | 1 |  | N |  | 15000 | 1000 |  | Y
40401-0149 | 4 | 404 | 40401 | Kolati |  | Holoo | 295817 | 946503 | 37p | 1654 | 1 | 1 |  |  | 24 |  | 0.3 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 49500 | 20700 | 7200 | 13500 | Y
40401-0150 | 4 | 404 | 40401 | Kolati |  | Finca’a 1ffaa | 295937 | 949437 | 37p | 1770 | 1 | 1 |  |  | 18.4 |  | 0.5 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 41986 | 41986 | 28563 | 13423 | Y
40401-0151 | 4 | 404 | 40401 | Kolati |  | Anolee 1ffaa | 288295 | 944276 | 37p | 1670 | 1 | 1 |  |  | 17 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 52001 | 52188 | 38800 | 13388 | Y
40401-0152 | 4 | 404 | 40401 | Borama |  | Sayyoo | 284147 | 940569 | 37p | 1649 | 1 | 1 |  |  | 22 |  | 0.9 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 46000 | 61000 | 49000 | 12000 | Y
40401-0153 | 4 | 404 | 40401 | Borama |  | Urgessa | 281055 | 940123 | 37p | 1677 | 1 | 1 |  |  | 23.4 |  | 51 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 45500 | 36500 | 26750 | 10000 | Y
40401-0154 | 4 | 404 | 40401 | Borama |  | Shagaa | 279938 | 942737 | 37p | 1695 | 1 | 1 |  |  | 24.2 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 41500 | 42020 | 34520 | 7500 | Y
40401-0155 | 4 | 404 | 40401 | Amdoo |  | Goroo | 298016 | 956242 | 37p | 1842 | 5 | 1 |  |  | 22.2 |  | 0.8 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 30660 | 30660 | 22560 | 8100 | Y
40401-0156 | 4 | 404 | 40401 | Amdoo |  | Qashoo | 200599 | 200599 | 37p | 1672 | 1 | 1 |  |  | 25.6 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 51200 | 21600 | 7400 | 14200 | Y
40401-0157 | 4 | 404 | 40401 | Amdoo |  | Madaree | 296431 | 956658 | 37p | 1638 | 1 | 1 |  |  | 24.6 |  | 0.5 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 45600 | 18400 | 6800 | 11600 | Y
40401-0158 | 4 | 404 | 40401 | Amdoo |  | Arbo | 200662 | 952430 | 37p | 1573 | 1 | 1 |  |  | 24.2 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 45000 | 40000 | 30000 | 10000 | Y
40401-0159 | 4 | 404 | 40401 | Amdoo |  | Marabee | 299401 | 946072 | 37p | 2021 | 1 | 1 |  |  | 17.4 |  | 0.4 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 44400 | 17680 | 6680 | 11000 | Y
40401-0160 | 4 | 404 | 40401 | Amdoo |  | Silkii | 200650 | 952917 | 37p | 2084 | 1 | 1 |  |  | 18.8 |  | 0.5 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 48650 | 20450 | 6800 | 13650 | Y
40401-0161 | 4 | 404 | 40401 | Amdoo |  | Bagee | 256471 | 945324 | 37p | 1709 | 1 | 1 |  |  | 13 |  | 0.8 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 42500 | 44000 | 34000 | 10000 | Y
40401-0162 | 4 | 404 | 40401 | Amdoo |  | Baltoo | 257614 | 904567 | 37p | 1720 | 5 | 1 |  |  | 18 |  | 0.9 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 42500 | 42000 | 34000 | 8000 | Y
40401-0163 | 4 | 404 | 40401 | A Gibee |  | Warxuu | 296675 | 947112 | 37p | 1675 | 1 | 1 |  |  | 15.8 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 57000 | 57000 | 42000 | 15000 | Y
40401-0164 | 4 | 404 | 40401 | A Gibee |  | s/doshaa | 284553 | 948216 | 37p | 1908 | 1 | 1 |  |  |  |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 41500 | 41500 | 38000 | 3500 | Y
40401-0165 | 4 | 404 | 40401 | A Gibee |  | Carii 2ffaa | 284151 | 965253 | 37p | 1780 | 1 | 1 |  |  | 13.6 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 45220 | 38316 | 27616 | 10700 | Y
40401-0166 | 4 | 404 | 40401 | A Gibee |  | Mucucoo | 285021 | 966859 | 37p | 1660 | 1 | 1 |  |  | 11 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 50280 | 57500 | 43000 | 14500 | Y
40401-0167 | 4 | 404 | 40401 | A Gibee |  | Denyuuilu | 286025 | 967356 | 37p | 1699 | 1 | 1 |  |  | 13 |  | 0.9 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 52833 | 52833 | 39333 | 13500 | Y
40401-0168 | 4 | 404 | 40401 | A Gibee |  | Somboo 2ffaa | 283626 | 967028 | 37p | 1710 | 1 | 1 |  |  | 21.4 |  | 0.8 | 1 | 2008 |  |  |  | 7 | 2 | 1 |  | N | 47000 | 47000 | 36000 | 11000 | Y
40401-0169 | 4 | 404 | 40401 | A Gibee |  | Lafa damma | 284623 | 966578 | 37p | 1680 | 1 | 1 |  |  | 29.2 |  |  | 1 | 2008 |  |  |  | 7 | 2 | 1 |  | N | 40800 | 41400 | 34600 | 6800 | Y
40401-0170 | 4 | 404 | 40401 | Iluu |  | Gatira | 279268 | 972411 | 37p | 1661 | 1 | 1 |  |  | 8.6 |  | 0.8 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 44500 | 44500 | 35000 | 9500 | Y
40401-0171 | 4 | 404 | 40401 | Iluu |  | W/galgalee | 278272 | 973518 | 37p | 1648 | 1 | 1 |  |  | 18 |  | 0.8 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 47400 | 45100 | 31200 | 13900 | Y
40401-0172 | 4 | 404 | 40401 | Ebicha |  | Qotuu | 292745 | 955754 | 37p | 1658 | 1 | 1 |  |  | 12.2 |  | 0.9 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 48000 | 48000 | 35000 | 13000 | Y
40401-0173 | 4 | 404 | 40401 | Ebicha |  | Gijamoo | 294082 | 953910 | 37p | 1667 | 1 | 1 |  |  | 14.4 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 49000 | 45120 | 31120 | 14000 | Y
40401-0174 | 4 | 404 | 40401 | Ebicha |  | Qoxa’o | 295206 | 955039 | 37p | 1654 | 1 | 1 |  |  | 19.2 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 44000 | 53400 | 45400 | 8000 | Y
40401-0175 | 4 | 404 | 40401 | Ebicha |  | Aruu | 294674 | 956160 | 37p | 1663 | 1 | 1 |  |  | 25.4 |  | 0.9 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 34000 | 34000 | 25000 | 9000 | Y
40401-0176 | 4 | 404 | 40401 | Ebicha |  | Mixer | 294943 | 956354 | 37p | 1660 | 1 | 1 |  |  | 14.8 |  | 0.6 | 1 |  |  |  |  | 7 | 3 | 1 |  | N | 50000 | 45000 | 35000 | 10000 | Y
40401-0177 | 4 | 404 | 40401 | A Somboo |  | Kiramu | 289687 | 951916 | 37p | 1818 | 1 | 1 |  |  | 12.2 |  | 0.9 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 55200 | 55200 | 44200 | 11000 | Y
40401-0178 | 4 | 404 | 40401 | A Somboo |  | Coree | 288956 | 952567 | 37p | 1786 | 5 | 1 |  |  | 11.4 |  | 0.8 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 36000 | 47400 | 35400 | 12000 | Y
40401-0179 | 4 | 404 | 40401 | Maaxoo |  | Warrii | 279980 | 953821 | 37p | 1820 | 1 | 1 |  |  | 36.8 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 60000 | 50550 | 40550 | 10000 | Y
40401-0180 | 4 | 404 | 40401 | Maaxoo |  | Somboo | 284808 | 957111 | 37p | 1670 | 1 | 1 |  |  | 11.4 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 50500 | 57000 | 43000 | 14000 | Y
40401-0181 | 4 | 404 | 40401 | Maaxoo |  | Mucee | 285012 | 958567 | 37p | 1690 | 1 | 1 |  |  | 25.8 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 46000 | 52500 | 43000 | 9500 | Y
40401-0182 | 4 | 404 | 40401 | Maaxoo |  | Derree | 278545 | 953900 | 37p | 1540 | 1 | 1 |  |  | 33.8 |  | 8 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 50500 | 22300 | 7800 | 14500 | Y
40401-0183 | 4 | 404 | 40401 | Maaxoo |  | O/balla | 279123 | 954309 | 37p | 1690 | 1 | 1 |  |  | 0 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 44000 | 44000 | 40000 | 4000 | Y
40401-0184 | 4 | 404 | 40401 | Ilfata |  | Corii | 281986 | 960824 | 37p | 1589 | 5 | 1 |  |  | 11 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 34100 | 33450 | 23960 | 9600 | Y
40401-0185 | 4 | 404 | 40401 | Ilfata |  | Xuuxii/sia | 283409 | 961285 | 37p | 1789 | 1 | 1 |  |  | 12.4 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 37300 | 23840 | 13340 | 10500 | Y
40401-0186 | 4 | 404 | 40401 | Ilfata |  | Doree 2ffaa | 285250 | 962981 | 37p | 1677 | 1 | 1 |  |  | 14.8 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 47338 | 61938 | 50600 | 11338 | Y
40401-0187 | 4 | 404 | 40401 | Ilfata |  | Doree 1ffaa | 370341 | 842125 | 37p | 1500 | 5 | 1 |  |  | 5.8 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 51300 | 45000 | 34000 | 11000 | Y
40401-0188 | 4 | 404 | 40401 | Ilfata |  | Caffeegurree | 286606 | 962391 | 37p | 1896 | 1 | 1 |  |  | 53.2 |  | 0.7 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 60000 | 61670 | 51670 | 10000 | Y
40401-0189 | 4 | 404 | 40401 | Ilfata |  | Homi/darbata | 285618 | 964419 | 37p | 1679 | 5 | 1 |  |  | 17.6 |  | 0.6 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 50000 | 38130 | 28630 | 9500 | Y
40401-0190 | 4 | 404 | 40401 | Roggee |  | Sibaa | 289708 | 957879 | 37p | 1661 | 5 | 1 |  |  | 21.4 |  | 0.8 | 1 | 2008 |  | 16 | 3 | 7 | 3 | 1 |  | N | 36600 | 46600 | 35600 | 11000 | Y
40401-0191 | 4 | 404 | 40401 | Beenjaa |  | Langee | 288758 | 965259 | 37p | 1614 | 1 | 1 |  |  | 13.4 |  | 0.9 | 1 | 2008 |  | 14 | 2 | 7 | 3 | 1 |  | N | 47000 | 52800 | 41800 | 11000 | Y
40401-0192 | 4 | 404 | 40401 | Beenjaa |  | L/gudadaa | 286072 | 962123 | 37p | 1689 | 1 | 1 |  |  | 32 |  | 0.8 | 1 | 2008 |  | 15 | 1.5 | 7 | 3 | 1 |  | N | 47500 | 34000 | 27900 | 6100 | Y
40401-0193 | 4 | 404 | 40401 | Beenjaa |  | Innago | 289085 | 962123 | 37p | 1645 | 1 | 1 |  |  | 15.8 |  | 0.9 | 1 | 2008 |  | 13 | 2 | 7 | 3 | 1 |  | N | 43000 | 35200 | 26200 | 9000 | Y
40401-0194 | 4 | 404 | 40401 | Beenjaa |  | Wandee | 291820 | 963668 | 37p | 1644 | 1 | 1 |  |  | 24 |  | 0.75 | 1 | 2008 |  | 21 | 1.9 | 7 | 3 | 1 |  | N | 49500 | 45500 | 36000 | 9500 | Y
40401-0195 | 4 | 404 | 40401 | Beenjaa |  | Tulluharoo | 293344 | 964910 | 37p | 1640 | 1 | 1 |  |  | 18 |  | 0.91 | 1 | 2008 |  | 18 | 2.1 | 7 | 3 | 1 |  | N | 51000 | 45000 | 36500 | 8500 | Y
40401-0196 | 4 | 404 | 40401 | Beenjaa |  | Malloo | 289304 | 968409 | 37p | 1626 | 1 | 1 |  |  | 26.2 |  | 0.82 | 1 | 2008 |  | 14 | 2 | 7 | 3 | 1 |  | N | 43500 | 50700 | 41200 | 9500 | Y
40401-0197 | 4 | 404 | 40401 | Beenjaa |  | Bacessa | 289475 | 967625 | 37p | 1895 | 1 | 1 |  |  | 13.2 |  | 0.7 | 1 | 2008 |  | 19 | 1.8 | 7 | 3 | 1 |  | N | 46800 | 52086 | 42086 | 10000 | Y
40401-0198 | 4 | 404 | 40401 | Solloqaa |  | Somee | 286200 | 941710 | 37p | 1886 | 5 | 1 |  |  | 16.2 |  | 0.9 | 1 | 2008 |  | 16 | 2.2 | 7 | 3 | 1 |  | N | 33400 | 39140 | 31040 | 8100 | Y
40401-0199 | 4 | 404 | 40401 | Solloqaa |  | Billoo 2ffaa | 285609 | 949730 | 37p | 1671 | 5 | 1 |  |  | 24 |  | 0.92 | 1 | 2008 |  | 14 | 2.4 | 7 | 3 | 1 |  | N | 4100 | 19000 | 12000 | 7000 | Y
40401-0200 | 4 | 404 | 40401 | Solloqaa |  | Horoo 2ffaa | 285850 | 948469 | 37p | 2111 | 5 | 1 |  |  | 31.6 |  | 0.56 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 33690 | 30690 | 21000 | 9690 | Y
40401-0201 | 4 | 404 | 40401 | Solloqaa |  | Sachanii | 284620 | 941325 | 37p | 2001 | 1 | 1 |  |  | 33.2 |  | 1 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 44500 | 58500 | 49000 | 9500 | Y
40401-0202 | 4 | 404 | 40401 | Solloqaa |  | Gibe | 286344 | 948943 | 37p | 2053 | 5 | 1 |  |  | 21.2 |  | 1.3 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 41500 | 23250 | 13750 | 9500 | Y
40401-0203 | 4 | 404 | 40401 | Solloqaa |  | Arusii | 286954 | 949514 | 37p | 2028 | 1 | 1 |  |  | 31.8 |  | 1.3 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 46400 | 14700 | 6200 | 8500 | Y
40401-0204 | 4 | 404 | 40401 | Borama |  | Borama | 289981 | 942339 | 37p | 1780 | 3 | 1 |  |  |  |  | 2 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 107957.2 | 107957 | 102957.2 | 5000 | Y
40401-0205 | 4 | 404 | 40401 | maaxoo |  | Cirrii | 280816 | 950484 | 37p | 1657 | 3 | 1 |  |  |  |  | 2 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 107957.2 | 107957 | 102957.2 | 5000 | Y
40401-0206 | 4 | 404 | 40401 | sooloqa |  | Model mandarii | 283830 | 945626 | 37p | 1713 | 3 | 1 |  |  |  |  | 1.5 | 1 | 2008 |  |  |  | 7 | 3 | 1 |  | N | 107957.2 | 107957 | 102957.2 | 5000 | Y

## DB2_Health
Original ID | Name of the region | Name of the zone | Name of the woreda | Kebele name | Village name (gott) | Name of the health facility | Type of health facility 1=Clinic 2=Health Post 3=Upgraded Health Post 4=Health Center | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone 1=36N 2=36P 3=37N 4=37P 5=38N 6=38P | Altitude (meter) | Type of safe water supply 1=No water supply 2=Protected well/spring 3=Rainwater harvesting 4=Shallow well with hand pump 5=Pipeline connection 6=Other safe water source | Functionality status of the water scheme 0=Abandoned during construction 1=Functional 2=Non-functional | Reason for non-functionality 1=Broken 2=Not enough water 3=Management /Finance Problem 4=Other | Status of the water scheme 1=New 2=Rehabilitation 3=Expansion | Yield of springs or machine drilled wells in litres per second * | Depth of the well (meters)* | Water column of hand dug well (meters)* | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | How many latrine blocks constructed by COWASH? | Year of construction /rehabilitation /expansion of the facility (Ethiopian calendar) | Planned construction cost approved by WWT including community contribution Total (birr) | Actual grant (birr) | Actual community contribution in kind or/and in cash (birr) | Actual total construction cost Total (birr) | Remarks
40401-h-001 | 4 | 404 | 40401 | Ebicha | Ebicha | Ebicha | 2 | 293947 | 955281 | 37p | 1751 | 1 | 1 |  | 1 | [6 empty] | 55000 | 46500 | 36500 | 10000

## DB3_School
Original ID | Name of the region | Name of the zone | Name of the woreda | Kebele name | Village name (gott) | Name of the school | Type of the school 1=Primary 1-4 2=Primary 5-8 3=Primary 1-8 4=Secondary 9-10 5=Secondary 11-12 6=Secondary 9-12 | X-coordinate (longitude) | Y-coordinate (latitude) | UTM -zone 1=36N 2=36P 3=37N 4=37P 5=38N 6=38P | Altitude (meter) | Type of safe water supply 1=No water supply 2=Protected well/spring 3=Rainwater harvesting 4=Shallow well with hand pump 5=Pipeline connection 6=Other safe water source | Functionality status of the water scheme 0=Abandoned during construction 1=Functional 2=Non-functional | Reason for non-functionality 1=Broken 2=Not enough water 3=Management /Finance problem 4=Other | Status of the water scheme 1=New 2=Rehabilitation 3=Expansion | Yield of springs or machine drilled wells in litres per second* | Depth of the well (meters)* | Water column of hand dug well (meters)* | Does the water scheme have trained pump attendant /caretaker? Y=Yes N=No | How many latrine blocks constructed by COWASH? | Number of rooms in the latrines constructed by COWASH? | Year of construction /rehabilitation /expansion of the facility (Ethiopian calendar) | Number of male students | Number of female students | Total number of students | Number of staff | Planned construction cost approved by WWT including community contribution Total (birr) | Actual grant (birr) | Actual community contribution in kind and/or in cash (birr) | Actual total construction cost Total (birr) | Remarks
40401-S-001 | 4 | 404 | 40401 | Benjaa | Degaga | D Kachuma School |  | 292844 | 960367 | 4 | 1661 | 2 | 1 |  | 1 | 0.3 | 12 |  |  |  |  | 2005
40401-S-002 | 4 | 404 | 40401 | Kolati | Fincha | Dego Finha School |  | 289844 | 945352 | 4 | 1653 | 2 | 1 |  | 1 | 0.3 | 8 |  |  |  |  | 2005
40401-S-003 | 4 | 404 | 40401 | Amdo | Amdo | Kota'o Hagamso | 2 | 299570 | 950980 | 4 | 1650 | [10 empty] | 2006 | 392 | 401 | 793 | 16
40401-S-004 | 4 | 404 | 40401 | Solloqaa |  | Barumsa Gajjaa |  | 282526 | 935728 | 37p | 2010 | 1 | 1 |  | 1 | 0.85 | 20 | 2.24 |  |  |  | 2008 |  |  |  |  | 52000 | 38750 | 35250 | 3500
40401-S-005 | 4 | 404 | 40401 | Borama |  | ilbu |  | 287182 | 945562 | 37p | 1705 | 1 | 1 |  | 1 | 0.8 |  |  | 2 |  |  | 2008 |  |  |  |  | 42000 | 11200 | 7700 | 3500